## Appendix 24 – Cost Reference for General Maintenance Works

Note:

- The following unit rates are the cost estimate for medium to large scale maintenance works quoted for reader’s reference.  Contract preliminaries and contingencies are not included in the rates.

- The actual costs will vary from one project to another as the extent of works, the location, the site conditions, the complexity of works of each project are different.

| Description | Unit | Unit Rate in HK$ |
| --- | --- | --- |
| Re-roofing Replacement of waterproof membrane - Replacement of concrete roof tiles | m2 m2 | 200 – 250 250 – 300 |
| External Wall Refurbishment Hacking off of existing tiled finishes Replacement of mosaic tiles including screeding Replacement of ceramic tiles including screeding Texture paint including plastering Scaffolding for external wall re-tiling | m2 m2 m2 m2 m2 | 100 – 150 300 – 400 350 – 480 200 – 320 150 – 230 |
| Internal Wall Refurbishment Replacement of white glazed ceramic tiles including screeding (China origin or equivalent) Emulsion paint including plastering | m2 m2 | 290 – 320 130 – 220 |
| Internal Floor Refurbishment Replacement of homogeneous tiles including screeding (China origin or equivalent) Replacement of vinyl tiles including screeding | m2 m2 | 360 – 420 150 – 260 |
| Internal Ceiling Refurbishment Cement paint including lime plastering Exposed grid suspended false ceiling including acoustic tiles | m2 m2 | 110 – 200 250 – 360 |

…/2

| Description | Unit | Unit Rate in HK$ |
| --- | --- | --- |
| Spalling Repair External Wall Internal beam and column Internal wall and ceiling Internal crack repair by injection grout | m2 m2 m2 m | 1,000 – 2,800 900 – 2,300 900 – 2,000 600 – 1,200 |
| Doors and Windows Replacement of single-leaf half-hour fire resistant hard wood door including painting and ironmongeries Replacement of single glazed clear anodized aluminium window | No. m2 | 4,500 – 6,500 1,200 – 1,800 |
| Plumbing and Drainage Replacement of uPVC drain pipe main stack not exceeding 150mm diameter Replacement of cast iron drain pipe main stack not exceeding 150mm diameter Replacement of copper water supply main riser not exceeding 80mm diameter | m m m | 480 – 550 650 – 750 680 – 780 |
| Electrical Works Re-wiring (average 70m2 flat) not exceeding 20 Nos. of power points | flat | 7,000 – 12,000 |
| Test CCTV survey to underground drains (approx. 50m) Hammer tapping to external wall including double framed scaffolding Thermal scanning to external wall excluding scaffolding (approx. 1000m2) | Job m2 Job | 30,000 – 40,000 250 – 350 25,000 – 30,000 |

…/3

| Description | Unit | Unit Rate in HK$ |
| --- | --- | --- |
| Miscellaneous Removal of metal cages or flower racks mounted on external wall including scaffolding Removal of asbestos corrugated sheet canopy or roof structure excluding scaffolding (less than 5m in length) High-pressure water jetting to clear blocked drains | Job Job No. of blockage | 8,000 – 30,000 6,000 – 25,000 2,000 – 2,500 |

All rates as at 2001 price level, and include materials and labour costs.