##### Chapter 3	UNDERSTANDING BUILDING MAINTENANCE AND MANAGEMENT

3.1	General

Problems that building owners usually encounter in the maintenance or management of their properties, and their possible causes are described in this Chapter.  Having acquired the relevant background knowledge, building owners can be in a better position to assess the conditions of their properties.

Solutions to some common problems described in this Chapter are provided in Chapter 4.  Detailed steps, alternatives, rectification measures and methods have also been included.  After reading through these two Chapters, building owners can gain a further insight on the concerned subject matters facilitating their selection of suitable rectification measures.

Maintenance and Management are two closely related issues.  Building management, apart from covering the basic security and cleanliness aspects of buildings, should also coordinate or even include implementation of maintenance plans to ensure a safe and pleasant living environment.  As explained in the coming sections of this chapter, surveillance can be strategically combined with inspection for maintenance.  It would be beneficial to owners in engaging the same personnel in carrying out both duties.

###### 3.2	Timely Maintenance

Prevention is better than cure.  Defects create hazards leading to serious or fatal injuries.  Most defects can, at their early stages, be discovered through visible or detectable symptoms.  If not promptly rectified, minor defects can develop into serious ones, causing failure or sudden collapse, endangering lives and becoming more costly to rectify.  While Chapter 3 gives readers some hints on preventing the problems and foreseeing the needs, Chapter 4 provides solutions for early actions or rectification, thus avoiding hazards and Government orders.  This is the spirit of timely maintenance.

# 3.2.1	Common Building Defects and Their Symptoms

- Background

Defects occur in various forms and to different extents in all types of buildings, irrespective of age.  The followings all contribute to the occurrence of defects in buildings:

- the large varieties of building materials used that may not be well congruent with one another;

- construction techniques that may not be defect proof, inconsistent or sub-standard workmanship;

- use of unsuitable construction details;

- extreme site conditions undermining performance standards;

- natural deterioration;

- attacks by pollutants; and

- improper uses of the completed buildings.

(b)	Defects in Buildings

Summary of common defects in the buildings:

| Common Defects | Symptoms/Phenomenon | Possible Causes | Relevant Section in Chapter 4 |
| --- | --- | --- | --- |
| Defective concrete, spalling or loose plaster in ceilings | Surface with water/rust staining, water leakage Patterned cracking Bulging, falling off of concrete patches with reinforcement exposed, often rusty falling off of plaster/tiles | Defective concrete as a result of ageing is commonly found in old buildings. Persistent water leakage may affect the steel reinforcement. Weak concrete caused by the use of salty water in concrete mix, or overloading are also common causes in spalling. | 4.1.1(a)(i) |
| (ii) Water seepage from external wall, window, roof, or from ceiling | Water staining Peeling off of paint or wall paper Water dripping Growth of fungus Defective concrete, plaster or tiles Rust staining | External water seepage could be due to a variety of reasons including cracks on external wall, honey comb concrete, defective sealant at window, defective waterproofing membrane at roof, defective external water and drainage pipes, etc. | 4.1.3 |
| (iii) Structural cracks in walls | Cracks that penetrate through finishes into the concrete or bricks Long, continuous cracks across width of wall Diagonal cracks at corners of window or door Cracks with rust staining | Structural cracks may be caused by many factors, e.g. excessive movement of the building structure, unwanted ground settlement, serious overloading, weaknesses caused by corrosion/deterioration of materials, or damage by accidents, or poor design/ construction, etc. Detailed investigation must be carried out to identify the cause(s) which must be removed or rectified before the cracks are repaired. * | 4.1.1(a)(ii) |
| (iv) Structural cracks in columns & beams | Cracks that penetrate through finishes down to the concrete or bricks Spalling | Same as item (iii) above. |  |
| (v) Non-structural cracks (usually in plaster or other finishes with cement sand rendering as base) | Hairline cracks multi-directional cracks (shrinkage cracks) Cracks between panel walls and structural elements e.g. brick wall and beams/columns | Cosmetic shrinkage cracks in plaster or other forms of finishes will affect the appearance only and do not pose any safety concern. They are small hairline cracks developed within the finishes layer not penetrating down to the reinforced concrete structure. | 4.1.1(b)(ii) |
| (vi) Defective external wall finishes/mosaic tiles/ceramic tiles/stone cladding/curtain wall | Debonding of finishes/tiles from wall structure resulting in “hollow sound” when tapped with a hammer Cracking of wall surfaces Bulging with hollow base Falling off Cracks Loosening of parts | The defects could be due to ageing, structural movements, defective workmanship during installation, thermal movement, defective or missing expansion joints, damage by external factors (e.g. falling objects during typhoon), ingress of water into the gap between the finishes or tiles and the structure, etc. | 4.1.1(b) |

For repairing the above defects, please refer to Chapter 4 Section 4.1.1 onwards.

* Structural cracks deserve immediate attention. They indicate that the structure of the building, or at least a part of it, is overstressed.  A structure, when stressed beyond its capacity, may collapse without further warning signs.  When such cracks suddenly develop, or appear to widen and/or spread, the findings must be reported immediately to the Buildings Department.  A building professional such as a Registered Structural Engineer is usually required to investigate the cause(s) of the cracks, to assess their effects on the structure, to propose suitable rectification and remedial works, and supervise the carrying out of such works.

(c)		Defects in Building Services Installation

Most of the mechanical components of the building services installations have a relatively shorter life span than the building structure.  Defects in the mechanical components usually lead to failure requiring repair or servicing.  It is therefore necessary to have a planned schedule for foreseeable servicing and replacement for components.  Avoid exhausting the designed lifespan of such components can prevent sudden breakdown of services that causes undesirable or even disastrous consequences.  For more detailed descriptions on building services installations and their maintenance, please refer to Chapter 4 Section 4.1.2.  Common defects in building services installations are summarized as follows:

| System | Symptoms/Phenomenon | Possible Causes | Relevant Section in Chapter 4 |
| --- | --- | --- | --- |
| (i) Water Supply | Insufficient water pressure or flows Brownish water/grit and deposit Stoppage of supply Water seepage Unclean water, algae growth, dirt and deposit Sudden rise in consumption Noisy water pumps, noisy water inlets | Blockage or leakage of components of the supply system such as pipes or valves Rusty pipes or dirty supply tanks Pump failure, breakage of supply pipe Defective water tanks, pipes (pipe joints) or valves Defective or missing water tank cover Leakage in the system after water meters Defective water pumps, undue water pressure | 4.1.2(d) |
| (ii) Electricity Supply | Stoppage of supply/system breakdown Sudden or frequent fuse or circuit breaker cut off leading to stoppage Heating of switches & wires Sudden or frequent stoppage and larger power consumption Electric sparks or shocks, electrocution | Failure of fuse or circuit breaker Earth leakage, overloading Overloading Uneven distribution of phases Inadequate earth bonding | 4.1.2(a) |
| (iii) Fire Services | Inadequate water pressure No water supply Water leakage, rusty stains Alarm not working (when tested), false alarm or warning lights on signal panels Portable equipment lost or misplaced, glass panels of alarm switch- box broken Non-functioning of equipment | Blockage or leakage of components of the supply system such as pipes or valves Failure of pump, breakage of the supply system Damage, corrosion or failure of pipes, joints or valves Alarm wiring defect, short circuit Inadequate protection or poor management Inadequate maintenance or servicing | - 4.1.2(b) |
| (iv) Lift and Escalator | Stoppage, excessive noise during operation, indicator lamps off, unstable lifting, malfunction of buttons and indicator lamps Occasional overrun Doors not closing properly Defective mechanical parts, frequent stoppage, alarm signals | Ageing of parts, mechanical failure Landing misalignment Parts ageing, mechanical failure, rubbish obstructing operation Inadequate servicing | 4.1.2(c) |
| (v) Air-Conditioning/ Heating | Not cool enough, not warm enough Noisy, no air movement Engines sound normal but no air movement Noisy blowers or propellers movement Poor indoor air quality Dripping and substandard output of cool or warm air Noisy blowers or propellers movement | Poor efficiency, leakage of refrigerant dust and dirt at heat transmission fins Loosen parts, blowers or propellers breakage Dust screens blocked, air ducts and grilles needs cleaning Misalignment of motor shafts Insufficient fresh air intake, mal-function of intake air filter Insulation failure Misalignment of motor shafts |  |

Other building services installations that require regular checking and maintenance include gas supply, security system and alarm, radio, telephone and television signaling systems, etc.

(d)	Defects in Slopes and Retaining Walls

(i)	Maintenance responsibility of slopes or soil retaining structures within private boundaries rests with the owners.  However, it is not uncommon that the maintenance responsibility of slopes and retaining walls on Government land adjoining or in the vicinity of the lot is also placed on the land owners under lease.

(ii)	Natural, cut and man-made slopes should be regularly inspected to clear loose stones and boulders as well as undesirable vegetation that may damage the slope surface cover or drainage.  Retaining walls should be monitored, in particular the integrity of structure and the performance of its drainage system. Some retaining walls may have monitoring devices installed which should be checked by competent persons regularly.  Strengthening of slopes and retaining walls, if required, should be carried out promptly and whenever possible completed before the rainy seasons.

(iii)	Most slope or retaining wall failures are associated with water.  Slopes adjoining water courses have to be more frequently monitored.  Prolonged rainfall, blocked subsoil drainage, broken surface channels, deteriorated surface coverings, surge of ground water table are contributing factors to slope or retaining wall failure.

(iv)	Defects of slopes or soil-retaining structures are:

- Accumulated debris in drainage channels

- Vegetation causing cracking of slope surface cover and drainage channels

- Missing or deteriorated pointing in masonry retaining walls

- Blockage of weepholes

- Cracked / damaged drainage channels or pavements along crest and toe of slopes and retaining walls

- Cracked or damaged slope surface

- Ground subsidence in slopes, retaining walls or in roads or pavements at the crest and toe of slopes and retaining walls

- Falling objects from slopes and retaining wall surface

- Excessive overflowing of water from weepholes or wall surface of slopes and retaining walls

(v)	Signs of landslip danger

- Landslip debris on roads and footpaths

- New large cracks or ground subsidence in slopes, retaining walls or in roads or pavements at the crest or toe of slopes and retaining walls

- Mud, rocks, fragments of concrete/brick and uprooted vegetation, falling from slopes and retaining walls

- Sudden change in colour (from clear to muddy) of water flowing from slopes or retaining walls

- Water overflowing onto slopes and retaining walls

- Cement or concrete surface of slopes bulging or being dislodged or signs of soil erosion appearing

- Breaking of catchwaters, serious overflow from catchpits or drains

- Flooding of water in hilly areas

- Sudden increase in seepage over an extensive area of a slope or retaining wall

(vi)	Preventive maintenance of slopes and soil retaining structures comprising the full process of investigation, analysis, monitoring and formulation of remedial proposals, requires the professional services of Geotechnical Engineers.  There are also detailed geotechnical guidelines published by the Government.  Appendix 7 of this Guidebook provides details on the maintenance responsibility and scope of maintenance in this regard.  Timely maintenance not only helps save lives, but also save the repair costs in the long run.

(e)	Water Seepage and Drainage Nuisance

They are common defects in Hong Kong causing nuisances to occupiers across floors.  Though it is obvious that water migrates downwards by gravity, it is sometimes very difficult to identify the source or cause of water seepage.   An extensive investigation may be necessary with the use of special detectors or apparatus to track down the source of leakage.  Colour dyes, samples collection for analysis, tests to the possible sources or the specific spots, etc, are usual means adopted in identifying the source.  It can be a long and enduring process which requires patience and co-operation from all parties concerned.  Some examples are listed as follows:

| Location of Leakage or Seepage | Possible Causes | Relevant Section in Chapter 4 |
| --- | --- | --- |
| Underside of roofs (such as flat roof, podium roofs) and bottom of light wells | Damage or deterioration of waterproofing layer Leakage at access doors or top hatch doors Deterioration of corrugated steel roofing materials and joints Defective enclosure for water tanks Cracks of parapet walls affecting the waterproofing membrane Inadequate protection / improper installation of sleeve around openings through roof slab Excessive movements of construction joints | - 4.1.3(a) |
| Ceiling with internal areas above | Leakage from bathroom or kitchen above usually caused by seepage from fitments, bathtubs, shower trays, buried pipes or drains due to improper construction of joints, installation of sealants or occurrence of cracks Waterproof cement rendering underneath floor tiles for the floor above not installed/specified or such waterproofing features damaged by installation of sockets or conduits mal-function of waterproofing in nearby external features such as balconies or external walls above |  |
| Wall | Water penetration through external wall defects such as cracks, joints, honeycombs, spalling, weak points, holes, punctures, leftovers of debris, and movement of external wall components Water penetration through defective external wall finishes such as loosened mosaic tiles, cracked ceramic tiles & paint surface; through poor cladding or curtain walls constructions; or weaknesses in water-resisting components Water leakage through party walls between units of pre-fabricated elements, or between buildings | - 4.1.3(c) |
| Floor | Seepage from defective pipeworks or sanitary fitments Temporary floods and overflows Defective bathroom fitments such as bathtubs, shower trays or hand wash basins, or the improper installation of pipeworks or necessary sealants | - 4.1.3(e) |
| Window | Improper fillings around frames Deformation of frame and sashes, defective gasket, sealant or putty for window glass setting or frames Air conditioning box or platform tilting inwards Insufficient sealant around air conditioning units | - 4.1.3(d) |
| Basement | Inadequate or damaged waterproofing tanking (may be due to movements or punctures) Deterioration of water stops at construction/movement joints |  |
| Buried or underground drains or pipes | Seepage through defective joints or pipes caused by poor installation or differential movements/settlements, movement of building structures or ground or water table Corrosion of pipes at junctions with floors or walls Invasion of water into conduits and distribute throughout the network Blockage leading to excessive pressure built up Attack by rodents or roots of plants | - 4.1.3(b) & (g) |
| Exposed (or in pipe ducts) supply pipes or drains | Inadequacy in design of drains such as insufficient diameter of drains, bends being too sharp, etc. Blockage of drains by rubbish/sand collected in the system especially in bends or traps Insufficient number or deterioration of brackets leading to hammering and breakage of supply pipes Blockage of open joints such as hoppers of down pipes by plants or rubbish Unauthorized additions overloading the drainage system | - 4.1.3(f) |

Many different techniques for investigation and repair for the above defects are available in the market.  Readers should consult a building professional especially when the cause of the problem is not obvious or cannot be easily identified.

Construction or repair of waterproofing components requires specialist materials and applicators.  Normally, long-term warranty will be provided after application.  Once the sources of the leakage are diagnosed, appropriate repair methods and suitable materials may be used to tackle the problem.  Some typical situations are provided in Section 4.1.2(d) and Section 4.1.3 of Chapter 4.

(f)	Defects in Windows and External Appendages

(i)	Common defects in windows

Windows are perhaps the most vulnerable building element in  external building envelopes, and the need for some windows to be openable further aggravates the problem.  Glass panels should always be replaced once cracks occur.

Common defects in traditional steel windows usually arise from rusty frames, and deterioration or loss of putty or sealant to hold the glass panels.

Aluminum windows have been widely used in new developments and as replacement of steel windows in existing buildings but recent incidents of their failure have aroused safety concerns.

Aluminum window system involves assembly of a certain number of components by rivets, screws, hinges and fixing anchors.  These accessories, which are prone to failure, require regular servicing and maintenance to prevent failure.  The friction slide hinges are delicate parts of the window which demand close attention to avoid accumulation of dirt that obstruct the sliding motion and mild lubrication to reduce friction of the moving parts.  Without the required servicing and maintenance, hinges may become too tight to operate, rivets may loosen up and screws may be corroded that shorten their life-span.  When excessive forces are applied to operate such windows or when they are subject to wind load, distortion or dislodgement of the window sashes or even the frame may result, causing fatal or serious injuries to the public.

Details on the repair methods are provided in Section 4.1.1(c) of Chapter 4.

###### (ii)	Common defects in external appendages

External appendages are usually cantilevered structures which include eaves, mouldings, projections, architectural projecting features, air-conditioning hoods, canopies and balconies, drying racks, projecting panels and claddings.  Although the structural designs of these elements have already catered for their cantilevered performance, lack of maintenance and repair to combat natural weathering would attract development of defects, unduly shorten their life-span and eventually result in collapse.  Worst still, such collapse might be sudden without prior obvious symptoms such as deflections leading to catastrophic consequences.

There are two main reasons why cantilevered structures demand close monitoring.  Firstly, they are often exposed to weather attack or weakened by unauthorized building works.  Secondly, unlike the conventional reinforced concrete structures that the main reinforcements are placed near the bottom to the element, reinforcements are placed near the top surface of such structures where cracks will also first start to develop.  Therefore, if waterproofing at the top is inadequate or damaged by the cracks allowing ingress of water, corrosion of the reinforcements will result.  The corrosion will reduce the effective cross-sectional area of the reinforcement bars resulting in sudden collapse.

# .

Common defects are:

- Cracking at junctions

- Bulging (gaps occuring between finishes and parent wall) or peeling-off of finishes

- Spalling of concrete or uncovering of steel reinforcement

- Rusting of metal parts

- Damage by fungus or vegetation growth

- Water seepage through the features

- Corrosion or loosening of attachments

Except for canopies which are mostly found in podium levels, other appendages are usually thin and small in sizes but large in numbers which are difficult to check and monitor.  Therefore, adequate resources should be allocated for regular inspection and repair in order to prevent them from becoming falling hazards.

Windows and balconies of individual units usually provide vantage points for inspection of the defects in the exterior of the building.  Owners spotting any defects in the exterior of the building should report to the property manager or the Owners’ Corporation (OC) for their action, irrespective of whether the defects are at the exterior of their own units or other units.

3.2.2	Areas for Special Attention

(a)	Storage of Dangerous Goods

###### (i)	Proper handling and storage of dangerous goods

In accordance with the Dangerous Goods Ordinance, dangerous goods exceeding the exempted quantity should be stored in a licensed dangerous goods store.  Common examples are spirit, some essential oils, LP gas and kerosene.  Other examples involve mostly commercial and industrial usage.

Dangerous goods must be handled with extreme care.  When they are being in use, no naked fire is allowed in the vicinity in order to avoid the outbreak of fire and explosion.

###### (ii)	Categories

In the Dangerous Goods Ordinance, dangerous goods are divided into categories.  The following are some examples:

| Category 1: | Explosives | (The Authority is the Commissioner of Mines.) |
| --- | --- | --- |
| Category 2: | Compressed Gases | C1.1 C1.2 C1.3 | Permanent Gases Liquefied Gases Dissolved Gases |
| Category 3: | Corrosive Substances |  |  |
| Category 4: | Poisonous Substances | C1.1 C1.2 | Substances giving off poisonous gas or vapour Other poisonous substances |
| Category 5: | Substances giving off inflammable vapours | C1.1 C1.2 | Flash point below 23℃ Flash point of or exceeding 23℃but not exceeding 66℃ |
|  |  | C1.3 | Flash point of or exceeding 66℃ (applicable to diesel oils, furnace oils and other fuel oils only) |
| Category 6: | Substances which become dangerous by interaction with water |
| Category 7: | Strong supporters of combustion |
| Category 8: | Readily combustible substances |
| Category 9: | Substances liable to spontaneous combustion |

###### (iii)	Advice, complaints and enquiries

Queries on dangerous goods can be directed to Dangerous Goods Division of the Fire Services Department.  Useful telephone contacts are provided at Appendix 2.

###### (b)	Buildings with Single Staircase

###### (i)	General

Single staircase buildings are buildings that do not exceed 6 storeys in height and the level of the floor of the uppermost storey is not more than 17m above ground level at the staircase exit.  Since there is only one staircase, the escape route is vital to the occupiers and deserves protection and maintenance in the highest order.

###### (ii)	Use restrictions

Only domestic or office use may be permitted on the upper floors, and the ground storey may be used for the purposes of a shop or carparking.  Other uses in the building will become incompatible uses, and may give rise to danger.  If in doubt, advice from an Authorized Person (AP) should be sought.

###### (iii)	Escape route requirements

Adequate access should be provided at ground level to enable a rescue ladder/appliance to reach at least one window of every different occupancy on each floor above the ground storey.  Therefore, sub-division of a floor into separate units may become dangerous.

For buildings in which the level of the highest floor is more than 13m above ground level (about 4 storeys high):

- access to the staircase at each storey should be through a smoke lobby.  Such lobby was provided and should be maintained as an integral part of the staircase, and it should not be removed or incorporated as part of any adjacent unit(s).

- the staircase should be continued to roof level; the roof should be available for refuge of persons of the building.  Such roof should be accessible directly from the staircase, clear of any obstruction, and is readily accessible by fire fighters for rescue purposes.

###### (iv)	Unauthorized building works

There are many common types of unauthorized building works (UBW) associated with single staircase buildings.  Apart from the usual external projections, many UBW actually affect the means of escape and jeopardize lives of occupiers.  Common examples include:

- removing smoke lobby doors, or replacement of such doors with non fire-rated glazing doors;

- installing metal gates or doors at the smoke lobbies, staircase or landings obstructing the escape route;

- erecting roof top structures;

- locking access door to the roof;.

- adding cockloft to ground floor shops with new door opening(s) to the staircase; and

- forming other door openings at the staircase and landings for sub-division of units.

All the above, including other UBW and incompatible change in use to any floor or unit are prohibited.  The Buildings Department (BD) may serve orders on these irregularities for rectifications by individual owners or all the co-owners as the case may be.

(c)	Misuse, Change in Use and Licensing

###### (i)	General

All parts of a building have their designated uses usually referred to as  “approved use”.  They may be domestic units, offices, shops, classrooms, machine rooms, corridors, carparks, caretaker’s offices, factories, warehouses, playgrounds, club houses, etc.  Such uses are usually shown on the approved building plans.  When a building is completed, the Building Authority (BA) issues an “Occupation Permit” which briefly describes the building and the permitted uses of its different areas as shown on the approved building plans kept by the BD.

###### (ii)	Permissible use

The permissible uses of any new building are usually governed by the Town Planning Ordinance through the Outline Zoning Plans (available at the Planning Department), the Government Lease Documents (can be obtained from the Land Registry filed under the lot numbers), the building plans approved by the BD.  Occupation Permits issued by the Building Authority may be a convenient reference for brief description of the subject buildings and permitted uses.  However, in case of doubt, readers should always refer to the approved building plans for details and confirmation on the approved uses of specific areas.

After completion of the building, occupiers may wish to change the use of certain parts of the building.  Sometimes, only minor adjustments or alterations are required and the new uses are still permissible under current legislations and restrictions.  However, some other cases may require applying for a license, specific indication of “no prohibition” to change in use or approval for alterations and additions.  In some extreme cases, approval for demolition and redevelopment of the subject building may be required.

###### (iii)	Misuse

Misuse of a part or the whole building may include an unauthorized change in use.  Some commonly found examples of such unauthorized changes are:

- office to domestic use or vice versa;

- domestic use to restaurants or other commercial uses or vice versa;

- office or domestic uses to industrial or warehouse uses or vice versa;

- industrial use to office;

- flat roof to carpark, storage, office or domestic units; or

- canopy to accessible flat roof or balcony.

The changes in some cases would lead to the increase of fire risk, overloading of any floor or structural members, or overcrowding affecting the means of escape.  Care should be taken in planning for such changes or increase of capacity above the maximum permissible for a place.  In case of doubt, an Authorized Person (AP) should be consulted.

###### (iv)	Licensing

Licensed premises

There are certain uses or businesses that require a licence to operate.  The most common examples are:

- restaurants and food businesses;

- hotels, guest houses and bedspace apartments;

- tuition class over a specified number of students and schools;

- entertainment businesses and bath houses;

- homes for the elderly, kindergartens and child care centres; or

- clubs.

Application for licences

The procedures for applying the required licences are laid down by the relevant licensing authorities.  Whether the proposed new uses are permissible usually depends on the existing structural design and fire safety provisions or fire service installations of the subject buildings.  It is advisable to consult building professionals who will, in the first instance, assess whether the proposed building or parts of the building are suitable for the intended use, and if any alterations or additions are required to be done.   If readers are in a tight schedule to operate a certain business within the purview of the licensing authorities, it is advisable to select premises which have already been designed and approved for such uses or have already been granted the required licence.  For more details on proposed alteration and addition works, please refer to Section 3.2.2(c)(vii) of this Chapter and Section 4.3 of Chapter 4.

###### (v)	Change in use

Even though there may be no physical alterations or additions works required for a proposed change in use, approval by the Building Authority and, if necessary, by other Government Departments for such proposal may still be required.  Readers should engage building professionals to assess whether the existing design and construction of the premises are suitable for the proposed change based on the following considerations:

- permissible uses under the Town Planning Ordinance and relevant zoning or development plans;

- permissible uses under lease conditions;

- structural implications of the proposed uses;

- implications of the proposal on the provisions for the means of escape in case of fire;

- adequacy of sanitary fitment provisions;

- adequacy of fire service installations and fire resisting construction requirements; and

- whether the proposed use is incompatible with the current uses of its neighbour and design of the building and whether it would give rise to any danger or nuisance to the other occupiers.

###### (vi)	Partial demolition, upgrading and improvements

Partial demolition

Partial Demolition means the demolition of a part of a building.  It usually involves the demolition of structural members, e.g. floor slabs, beams or columns.  Examples are removal of:

- canopies;

- floor slabs to create voids with high headroom;

- part of a floor slab to install a new staircase, lift or escalator;

- one side of a building to allow for the integration of a new extension; or

- substantial UBW is also considered a partial demolition.

This kind of alteration works or removal of UBW may sometimes involve the removal of asbestos containing materials.  More details are provided in Section 3.2.2(h) of this Chapter and Section 4.1.5 of Chapter 4 in this regard.

Both total and partial demolition of a building requires the submission of a demolition plan by an Authorized Person (AP) for the approval by the Building Authority.  And the work has to be carried out by a Registered Specialist Contractor (Demolition Category), under stringent site safety supervisions.

Upgrading and improvements

Upgrading and improvements to buildings usually include face-lifting or replacement of finishes at external walls and common lobbies; replacement of worn-out or dilapidated services, machinery or installations, etc.  Advice should always be sought from an AP to ascertain whether such works require the approval and consent by the Building Authority.

The works involved are similar to those for extensions, alterations and additions. Readers should refer to Section 4.3 of Chapter 4 for more details.

###### (vii)	Alterations and additions

Building works to modify existing buildings are usually referred as alterations and additions although such works may not necessarily result in "addition" of building areas.

Examples of alterations and additions works are:

- constructing a new extension block to an existing building;

- adding floors to an existing building, whether on the top or not;

- constructing a swimming pool;

- linking two or more floors by removal of parts of the floor slab and/or adding internal staircases;

- constructing cocklofts;

- combining two or more units into one by removing the partition walls;

- Installing cladding or curtain wall to the façade of existing building;

- subdividing a unit into smaller units; or

- adding water tanks, lifts, escalators, curtain walls, hoists, facilities for the disabled persons, canopies and shelters, structural frames for air-conditioning or other plant, structural supports for advertisement signboards, etc.

Hong Kong is one of the most congested cities in the world.  Developable land is always a scarcity and building areas have been valuable assets.  The permissible development potential of a piece of land is one of the major factors affecting its market value.   Naturally, all developers or owners would try to develop their land lots to the maximum permissible.  However, there are still cases that buildings are not developed to its full potential.  In such circumstances, owners may apply for extensions of buildings after issuance of an occupation permit.  Examples are usually found in purpose-built industrial or educational buildings.

Readers should note that having the ownership of or rights of access to adjacent flat roofs, canopies, roof tops, yards, light wells or ground floor areas does not automatically entitle one to erect structures on them.  Reference should be made to the Deed of Mutual Covenant, approved building plans, lease conditions and, if in doubt, building professionals should always be consulted.

Appointment of building professional

Owners who wish to carry out alterations and additions are always recommended to consult a building professional for advice.  The professional will usually carry out a detailed study on the construction records of  the subject building, lease documents, and the technical constraints associated with the proposal.  If the proposal is feasible, the owner has to engage an Authorized Person (AP) (registered under the Buildings Ordinance (BO)) to prepare plans and to submit them on behalf of the owner to the Building Authority for approval.  Section 4.3.4 of Chapter 4 gives more details on the required procedures.

## (d)	Swimming Pools

###### The Swimming Pools Regulation (Chapter 132) stipulates that any person who establishes or maintains a swimming pool must obtain a swimming pool licence from the Food and Environmental Hygiene Department (FEHD).  Under the legislation, a swimming pool means any artificially constructed pool used for swimming or bathing and to which the public have access (whether on payment or otherwise) or which is managed by any club, institution, association or other organization.  However, this regulation does not apply to a swimming pool serving not more than 20 residential units and to which the public have no access.

###### Proper maintenance of swimming pools will lengthen the life expectancy of pool decks and filtration plants.  A pool left empty of water for a prolonged duration will suffer from tile cracks due to extreme temperatures.

###### Routine winter maintenance

- keep normal running of filtration plant, alternate duty pumps every other week.

- use floating diffuser to kill germ and moss.

- clean down the pool surrounds and bottom once a week and keep free of moss growth.

- carry out inspections and mechanical maintenance every week.

- keep all entrances shut and display the notices signifying “Pool closed – no lifeguard on duty”.

###### Readers should note that specialist contractors are required to carry out maintenance works to the pool structure and the filtration system.

###### (e)	Private Lanes, Road and Open Space

Similar to all private buildings, private lanes, roads and open spaces are within the purview of the Buildings Ordinance.  When building works are required in these areas, owners should engage an Authorized Person (AP).

###### (i)	Private lanes

Lanes are mainly used for servicing purposes such as the laying of underground drainage, water supply, electricity and communication cables. Many urban service lanes are still used for collection and disposal of garbage as well. It is not uncommon to find staircases of buildings or exits for units at the ground floor discharging to service lanes.  Service lanes in such circumstances may be regarded as part of the escape route.  Lanes may be at the rear or sides of buildings.  If a lane is under private ownership, owners have the responsibility to upkeep and maintain it.  The following are areas of concern:

- illegal extensions by ground floor occupiers; trespasses and occupation by outsiders;

- obstructions at the lane or at the point of discharge from the building;

- connections and maintenance of underground services;

- proper discharge of rain and surface water;

- maintenance of paving or ground surfaces; and

- lighting, cleanliness and tidiness.

###### (ii)	Private roads

Private roads are roads or streets on private land, and include all estate roads, access roads, driveways with or without pavements and emergency vehicular access (EVA).  There are, however, certain streets or roads in Hong Kong that vehicular access is not possible due to physical constraints, but they are still roads or streets by virtue of  their construction.  It is the owners’ responsibility to upkeep and maintain private roads.  Apart from those mentioned above for private lanes, the following are areas of concern:

- all vehicular accesses, carriageways and EVAs should be maintained at their original or minimum standards in terms of size, headroom, turning radius, gradients, surface loading and texture, and free of obstruction;

- no projection, encroachment, fixture, or furniture on the roads shall endanger the users;

- all traffic signs and road markings shall conform to the latest standards of Highways and Transport Departments;

- common facilities shall be maintained, such as planters and flower-beds, seatings, railings, drop kerbs and ramps, road humps, rubbish bins, storm and surface water drains and culverts, lighting, traffic signals and fire hydrants;

- the road structure may include the elevated ramp ways, flyovers, footbridges, slopes and retaining walls; and

- dealing with unauthorized car parking and hawkers are responsibilities of owners and their management representatives but not the Government.

###### (iii)	Private open spaces

Private open spaces include gardens, rest areas, children playgrounds, parking or loading and unloading areas, turf areas or gentle slopes, drainage reserved areas, space near top or bottom of slopes or retaining walls, or any other areas within the private land which are not built upon.

These spaces are often left uncontrolled and open to the public.  The owners’ responsibility is to maintain all the facilities and conditions of the open spaces, and to prevent abuses or trespasses.  The building management should arrange regular patrol and report on any irregularities spotted as soon as possible.

(f)	Commonly Found Unauthorized Building Works (UBW)

###### (i)	Unauthorized building works (UBW) under the Buildings Ordinance

The Buildings Ordinance stipulates that all building works in private buildings and lands require the submission of plans by an Authorized Person (AP) for the prior approval from the Building Authority.  Any building, construction, alterations and additions to private buildings and lands without prior approval and consent by the Building Authority are regarded as UBW.  They are illegal and subject to the action of removal orders.  Any person who instigates or owns UBW will be ordered for their removal and reinstatement to the originally approved conditions and may face prosecution, fine or even imprisonment.

###### (ii)	Types of UBW and Duties to Report to the Buildings Department (BD)

The following are examples of commonly found UBW:

- cages, canopies, metal flower racks, frames supporting air-conditioning units, etc. projecting from the external walls of buildings;

- canopies and structures projecting over Government land, pavement or lanes;

- structures on the roof top, flat roof, yards and light wells;

- excavation for a basement or swimming pool unless otherwise approved;

- removal of smoke lobby doors (both at common areas or at entrances to units);

- changing the fire resisting door at entrance to a unit into a non-fire resisting glass door (usually found in offices or industrial units);

- metal gates built across the escape route, or opening outwards and obstructing the effective width of escape route;

- connection or diversion of wastewater drainpipes (above ground or underground) into storm water drainage system;

- metal supporting frames for air-conditioning plants and cooling towers;

- unsafe or excessive advertisement signboards (Readers should refer to guidelines issued by the BD in this regard from time to time, a sample of the current guideline is at Appendix 10;

- excavation into hillside or earth filling to form embankment or platform; and

- unauthorized construction or modifying the height of retaining wall.

The BD maintains a hotline (see Appendix 2) for the public to report on any UBW in progress.  Priority action will be taken against such UBW.

###### (iii)	Responsibilities of property owners or Owners’ Corporations (OC)

###### Property owners or Owners’ Corporations (OC) have the responsibility to maintain their buildings in a safe and healthy condition and ensure that their buildings are free from UBW.  Where UBW are located within the confines of any unit under the title deed, it will be the owner of that particular unit (whether he built them or not) to bear the responsibility for their removal and reinstatement.  Where the UBW are located at the common parts of the building, it will be the responsibility of the OC or, in the absence of which, the co-owners to remove such.

###### (iv)	Exempted building works under the Buildings Ordinance

Building works that do not require the prior approval of the Buildings Authority are usually referred as  “exempted works”.  Examples are:

- redecoration or minor fitting-out works not affecting the structure of a building;

- removal of non-structural and non-fire-resisting internal partitions;

- installation of light weight partitions such as dry walls or light weight concrete blocks;

- changing internal doors that are non-fire-resisting doors; or

- changing or relocating sanitary fitments without contravening requirements or causing nuisance to others.

If in doubt, owners are encouraged to consult an Authorized Person (AP) or the BD.

###### (v)	Further details

###### Section 4.2 of Chapter 4 provides further details on dealing with the removal of UBW in a building.

(g)	Advertisement Signboards

###### (i)	Statutory control

Erection of an advertisement signboard and its supporting structures generally comes within the purview of the Buildings Ordinance.  Carrying out such works requires prior approval and consent from the Building Authority.  Otherwise, it may be classified as an UBW and subject to an enforcement order for its removal.  The “Guide on Erection & Maintenance of Advertising Signs” published by the BD (at Appendix 10) provides useful reference in this respect.  In addition to the Buildings Ordinance, advertisement signboards are also controlled by other relevant departments including Electrical & Mechanical Services Department, Fire Services Department, Civil Aviation Department, Transport Department, Country and Marine Parks Authority, etc.

###### (ii)	Maintenance

Existing advertisement signboards on external walls should be inspected and maintained regularly to assure safety of the public.  Any sign that is liable to cause danger to the public or the structure of its parent building may be subject to removal order under Section 24 of the Buildings Ordinance. Any abandoned advertisement signboards or their structures, when become dangerous or are liable to become dangerous, may also be removed under Section 105 of the Public Health and Municipal Services Ordinance.

(h)	Asbestos and Noise

###### (i)	Asbestos-containing material in buildings

Asbestos is a generic name given to a group of naturally occurring fibrous silicate materials which are recognized to be hazardous to health.  In Hong Kong, asbestos-containing materials had been extensively used before the mid-1980s in buildings such as factories, hospitals, hotels, schools and some public facilities for fireproofing, thermal and electrical insulation, as well as sound absorption.

The more commonly found example of asbestos-containing materials is corrugated asbestos sheets for roofs and canopies (very often found in UBW).  Others may include some floor tiles similar to plastic, false ceiling insulation tiles, acoustic plaster to ceiling, decorative concrete blocks for parapets or boundary walls, insulation blankets, fibre cement board; etc.

When these asbestos containing materials deteriorate or are broken, the asbestos fibres will be released and air-borne for a very long period of time.  Inhaling these fibres might lead to chronic illnesses.

For more details in this subject, and for locating specialist consultants and contractors, readers may refer to “Asbestos Removal of Unauthorized Building Works” published by the Environmental Protection Department at Appendix 14 and Section 4.1.5 of Chapter 4 of this Guidebook.

###### (ii)	Noise from ventilating or pumping system

Ventilating and pumping systems are common noise sources in a building that cause nuisances to the occupiers.

The building management should put in place a regularly scheduled equipment maintenance program so that the building services equipment or installations in the building are properly maintained and serviced without generating excessive noise or vibration.

When the building management observes abnormal or excessive noise from ventilating or pumping systems, it should immediately identify the source and the cause for appropriate remedial measures.

The building management should realize that it is likely for a normally operated powerful ventilation fan or high capacity condenser to generate irritating noise.  In such circumstances, additional noise abatement measures such as acoustic panels, enclosures, silencers or acoustic louvers should be installed as appropriate to reduce the noise.

Although water pumps are mostly placed inside plant rooms housed in pump chambers, vibration of the pumps usually transmits through the mountings to sensitive parts of the building such as domestic flats or classrooms.

The building management should ensure that the pumps and the water pipes are isolated from the plant room structures by the use of springs or rubber isolators.  Pipes penetrating the floor slabs or walls should be isolated by shock-absorbing materials such as rubber sleeve or glass-fibre packing.

When alteration or replacement of a ventilating or pumping system is required, noise level of pumps or moving parts should be of equal bearing as their performance.  Noisy systems should be located away from sensitive uses wherever possible or suitably screened or insulated.

(i)	Canopies and Balconies

###### Among the appendages, canopies and balconies are, in particular, susceptible to misuses.  Canopies are meant to protect the pedestrians from weather and falling objects. Balconies are for the leisure purpose of the residents. But they can collapse causing serious or fatal injuries if there is lack of maintenance/repair, misuse, addition of UBW above or below the canopies, material corrosion/deterioration, poor construction, etc. There are also cases where the collapsed canopy itself is an unauthorized addition.  Overloading the approved balconies by using them for storage leading to eventual collapse have also been found.

###### The following are therefore of paramount importance:

- avoid overloading of a canopy/balcony;

- ensure the canopy/balcony is free from any unauthorized structure;

- avoid ponding of water on a canopy/balcony;

- ensure the drainage and any waterproofing system of the canopy/balcony are well maintained for proper protection of the structure; and

- do not replace balcony parapets with glass panels unless the design has been carried out by an Authorised Person (AP) or a Registered Structural Engineer (RSE) and the installation carried out by a Registered General Building Contractor under the supervision of such AP or RSE.

###### Defects in canopies and balconies may not be revealed just by visual inspection. Whenever there is a concern about the safety of such features, the owner should engage a building professional to carry out an investigation.  The Buildings Department (BD) may also issue orders to the registered owners of canopies/balconies requiring them to engage building professionals to investigate and make safe, where warranted, such structures.

###### The investigation usually includes the opening up of the key structural spots, examining the original construction material and details, testing material strength, and assessing the stability.  The drainage and waterproofing aspects as well as any loose parts or attachments will also be dealt with.

###### If assessments by the building professionals reveal that the structures have become unsafe, remedial works such as additional strengthening, ultimately partial or even total demolition of the structures may be necessary.

###### For more details on the execution of the works, please refer to Section 4.2 and Section 4.3 of Chapter 4.

(j)	Defects Caused by Adjoining Building Works or Other External Factors

###### (i)	Adjoining building works

Defects in buildings can be caused by activities carried out in adjoining sites.  Examples of such activities are excavation, piling, demolition and construction.  Such works should be supervised by the Authorized Person (AP), Registered Structural Engineer (RSE) and registered contractor of the subject works. In the case of Public Works, such will be supervised by the relevant Government Departments or the building professionals and contractors employed from the private sector.

The Buildings Department (BD) and other relevant Government Departments will, from time to time, inspect and check on aspects such as safety, stability, noise, dust, and water pollution problems of such works.  Even though safety precautionary measures might have been taken, there are chances that such works at the adjoining buildings are somehow affecting your building.

###### (ii)	Other external factors

They include inclement weather, accidents, burglaries, or negligence of adjoining owners.  Accidents may be due to car intrusion, fire, landslide, bursting of public pipes, or falling of objects from adjacent buildings.

###### (iii)	Common defects

The common defects caused by adjoining building works or other external factors include:

- cracks at walls, windows, doors, ceilings, floors, etc. due to vibrations or soil movement or settlement;

- tilting or slanting of part of your building due to soil movement or settlement;

- partial collapse of a wall or roof;

- water seepage at your party wall after the adjoining building was demolished; and

- flooding or mud flow from the site, or indirectly caused by the site due to blockage of public drains.

###### (iv)	Shoring works

Situation may arise that shoring works are required to be carried out in a property in relation to works in an adjoining site.  This is usually a precautionary measure for the safety of the  building affected by the works.  Or it may form a part of the remedial works required when certain defects are discovered.

The shoring or supporting works are meant to strengthen and protect the structure of a building.  However, it might inevitably cause damage to the decorations and finishes, and inconvenience.

The initiating adjoining owners will have to seek consent to carrying out such works in the affected building.  However, even if mutual agreement cannot be arrived at, the required works should still be implemented for the sake of safety and structural stability.

Normally, the shoring and supporting works will be removed after the completion of the adjoining works.  In the case if the affected  property has developed structural damage, the adjoining initiating owner will be required to carry out the necessary investigation, survey and repair to your building before removing the supporting structures.

Section 4.1.8 of Chapter 4 provides more guidelines in this regard.

3.3	Types of Statutory Orders

Should defects of buildings or related nuisance have developed to a stage that safety or health of the public would likely be compromised, the Government will intervene to expedite the rectification process.

3.3.1	Orders Issued by the Buildings Department

The Buildings Department (BD) may issues advisory/warning letters or even orders to private building owners to investigate and rectify defects or irregularities.  Once an order is issued, the owners/Owners’ Corporation (OC) should take the necessary action to comply with the requirements immediately.  Otherwise, they may be liable to prosecution, fines and/or imprisonment.  Furthermore, orders will be registered against the title of the property in the Land Registry and will come to the attention of potential property buyers before completing transactions.  The following are examples of orders frequently issued by the BD to private building owners:

(a)	Unauthorized Building Works - Removal Order under Section 24 of the Buildings Ordinance (Chapter 123)

###### It is served upon the registered owners of a property where UBW are located.  The owners are required to remove the UBW and to reinstate the building in accordance with approved building plans.  Deadlines for complying with the issued orders usually do not exceed 60 days.

(b)	Investigation - Order under Section 26A of the Buildings Ordinance

###### It is served upon building owners or OC where early signs of building defects are detected and requires detailed investigation to identify the extent and the nature of the dilapidation/defects.

###### Owners are required to engage an Authorized Person (AP) to carry out the investigation and to submit the remedial proposal to the BD for acceptance.  The AP is also required to supervise the proposed remedial works.

(c)	Repair - Order under Section 26 of the Buildings Ordinance

###### It requires building owners or OC of buildings which are found to bear serious defects likely to cause risk of injury or damage, to carry out the required repair works and to render the buildings safe.

###### Owners may be required to engage an AP to supervise the remedial works to the satisfaction of the BD.  The time specified in the order for the owners to comply usually does not exceed 6 months.

(d)	Dangerous Hillside - Order under Section 27A and Investigation and Repair - Order on Water Pipes, Drains or Sewers Laid in Slopes under Section 27C of the Buildings Ordinance

###### They are served on building owners or OC when the slopes and retaining walls are dangerous and likely to cause risk of injury or damage to adjoining property; or the drains or buried pipes behind the slopes or retaining walls are leaking and may result in landslip or collapse.

###### The Order may require the owners to carry out investigation and submit remedial proposals for approval, and to carry out the remedial works in a specified period of time.  Owners are always required to engage the service of an AP in handling the investigation and remedial works

(e)	Drainage Repair - Order under Section 28 of the Buildings Ordinance

###### It requires building owners or OC of buildings which are found to bear defective or inadequate drainage installations, or the drainage system of which is causing nuisance, to investigate and repair or rectify the situation.

###### The owners may be required to engage an AP to submit remedial proposal and to supervise the remedial works to the satisfaction of the BD.  The order will also specify a period of time for compliance.

(f)	Fire Safety Improvement Direction - under Fire Safety (Commercial Premises) Ordinance (Chapter 502)

###### These directions may be issued by the Buildings Department (BD) or the Fire Services Department (FSD).

###### Under the scope of the Ordinance, there are 2 kinds of commercial premises namely, prescribed commercial premises and specified commercial buildings.

###### Prescribed commercial premises include the following premises that have an area over 230m2:

- banks;

- off-course betting centers;

- premises requiring exceptionally high security measures for business such as jewelry or goldsmith ;

- supermarkets and hypermarkets;

- department stores; and

- shops/shopping arcades.

Specified commercial buildings are those buildings which have been completed before 1st March 1987.  Basically, these buildings  are found to have inadequate fire service installations and may pose danger to the occupiers in case of fire when judged against the current standards.

###### The property owners and the occupiers will be served with the Fire Safety Improvement Directions requiring them to upgrade and improve the fire service installations (usually by adding sprinkler system) and carry out other necessary works.  Examples of such required works are reinstatement or improvement of smoke lobby doors, fire resisting construction (walls and openings), and removal of obstructions in escape routes.  Owners are required to engage an Authorized Person (AP) to carry out the investigation, to submit the remedial proposal to the Building Authority for acceptance, and to supervise the remedial works.

(g)	“Blitz Action - Clearance of Unauthorized Building Works (UBW)” and “Coordinated Maintenance of Buildings Scheme (CMBS)”

###### The BD has, since 1999, launched large scale UBW clearance operations called “Blitz” aiming to clear up UBW mainly on the external walls.  Since November 2000, the BD has also launched a Coordinated Maintenance of Buildings Scheme (CMBS) in various districts to co-ordinate other relevant departments to survey the target buildings and determine the scope and nature of improvement works required so as to ensure efficiency and cost-effectiveness to owners and the OC.  Besides BD, departments which have joined CMBS include Home Affairs Department, Fire Services Department, Electrical and Mechanical Services Department, Food and Environmental Hygiene Department and Water Supplies Department.

###### The owners or the OC are advised to comply with the orders, advisory or warning letters or directions voluntarily. To facilitate and assist owners in complying with the requirements, the Building Safety Loan Scheme has also been launched by the BD.   Readers may refer to Section 4.2.1 of Chapter 4  and Appendix 6 of this Guidebook for details and guided procedures for complying with the orders.  The BD is determined to instigate prosecutions against the non-complying owners.

3.3.2	Notices or Directions Issued by Other Government Departments

(a)	Water Authority (Water Supplies Department or WSD)

Notices may be served under Section 16 of Waterworks Ordinance (Chapter 102) in the following situations:

- unauthorized alteration of water works; or

- when the supplied water is wasted or polluted or if there is such a risk.

###### Section 4.2.3 (a) of Chapter 4 suggests solutions to comply with notices from the WSD.

(b)	Environmental Protection Department (EPD)

The following notices may be served by EPD:

- Under Section 3 of Water Pollution Control Ordinance (Chapter 358) in respect of drainage systems that are not properly discharged into the public sewage system.

- Under Section 10 of Air Pollution Control Ordinance (Chapter 311) in respect of emission of air pollutants which may cause deposit of dust/grit or affect public safety, etc.

- Under Section 13 of the Noise Control Ordinance (Chapter 400) requiring the owner or occupier to bring his noise emissions into a state of compliance by certain date.

Readers may refer to Section 4.2.3(b) of Chapter 4 for solutions to comply with such notices.

(c)	Fire Services Department (FSD)

(i)	Fire Safety Improvement Directions

Please see Section 3.3.1 (f) above.

(ii)	Fire Hazard Abatement Notice

Notice may be served under the Fire Services Ordinance (Chapter 95) for the removal of identified fire hazards in buildings within a specified period of time.  This notice may be served to the owner, tenant, occupier or person-in-charge where appropriate.  Non-compliance with the notice may result in legal action or the application for court order.  Section 4.2.3 (c) provides suggestions on how to comply with such notices.

(d)	Electrical and Mechanical Services Department (EMSD)

(i)	Electrical installation

Notice may be served under the Electricity Ordinance (Chapter 406)  for lack of repair, maintenance and test of electrical installation of building and improper wiring connection that may be in danger if fire and electrical fault are caused.

(ii)	Gas installation

Notice may be served under the Gas Safety Ordinance (Chapter 51) for the lack of repair, maintenance and test of gas supply system, and to prohibit the excessive stock of LPG cylinders in order to ensure safe operation of the system.

(iii)	Lift installation

Notice may be served under the Lift and Escalator (Safety) Ordinance (Chapter 327) for the lift installation of building not complying with the Regulations.  The objective is to ensure the lifts meet safety standards and operate smoothly.

(e)	Food & Environmental Hygiene Department (FEHD)

Notice may be served under the Public Health and Municipal Services Ordinance (Chapter 132) for the repair of water leakage at drainage pipe, and the cleansing of private sewers to prevent nuisance to other owners, occupants or to the general public.

3.4	Need for Effective Maintenance and Management

After reading through the preceding sections of this Chapter, readers can   appreciate the size and complexity of problems and the paramount importance of effective maintenance and management.  Formulation of long-term maintenance as well as surveillance and control plans are initial steps to ensure a safe and pleasant living environment.

3.4.1	Principles of Long Term Maintenance

Effective maintenance of buildings not only improves the quality of living environment but is also a vital means to uphold or even raise the value of properties.

Maintenance in general can be classified into servicing, repair, replacement and upgrading.  There is also a marked difference in terms of methods,   management and the result of “breakdown maintenance” versus “planned or preventive maintenance”.

Planned maintenance gives the owners and the property managers more time to prepare for the works and, more importantly, to secure the necessary funding.  It usually starts out by a thorough condition survey to assess the current situations, identify the full extent of works required and lay down the level of expectation. Considerations include implementation programs, standard of performance and reliability, as well as maintenance strategy, budget, and life cycles of certain elements and facilities.

Daily maintenance of essential features such as cleaning of surface water channels to avoid blockage of drains, servicing of small components of equipment or easily wearable items such as children’s play furniture are essential to ensure safe and smooth operation.  A detailed plan for maintenance to be carried out everyday should be drawn up as per the equipment supplier’s recommendations, needs and expectations of the owners and priority in allocation of resources.

Section 4.4 of Chapter 4 provides more details on this subject.

3.4.2	Principles of Inspection, Surveillance and Control

(a)	Inspections

(i)	Day-to-day inspection

The day-to-day inspection is to ensure the proper and safe functioning of different building elements, installations, services and facilities of a building. Examples of items that should be included in the checklist are:

- water pipes and pumps;

- gates and locks, fire doors and closers, intercoms and TV signaling, lights and fittings;

- hose reels, nozzle boxes and alarm glass;

- letter boxes and breakable panels;

- security TV and cameras, timer switches;

- surface water channels, drains, manholes covers, oil interceptors and grease traps;

- club facilities, flower beds and planters, playground equipment especially children’s play furniture such as swings;

- staircases, windows, lobbies, false ceiling, sprinklers;

- air-conditioning units and pipes for coolants and condensate water; and

- building structures, external appendages and finishes.

# Fire has taken many lives in the past.  Readers’ attention is drawn in particular to the importance of inspecting the provisions in fire service installations and means of escape as follows.

(ii)	Special inspections

# Means of escape

- Fire resisting doors, smoke lobby doors and staircase doors should be kept closed, and the door-closers should work effectively.  All such doors shall bear appropriate signs reminding people that they should always be kept close.

- No alteration such as door or ventilation openings should be made to walls enclosing staircases, smoke lobbies and exit routes unless prior approval from the Buildings Department (BD) on these alterations has been obtained.

- Staircase windows and vent openings should not be blocked.  Normally, the frames should be made of steel instead of aluminum in order to comply with the required fire resisting requirements.

- Artificial and emergency lighting in staircases and exit routes including battery operated exit signs should be maintained in working order.

- The swing of doors or gates should not encroach onto exit routes, such as common corridors, staircases and rear lanes, causing obstruction to escape.

- Doors or gates in common parts should be readily openable from the inside without the use of a key.

- Doors giving access to the roof of single-staircase buildings should be readily openable from the inside without the use of a key.

- Exit routes should be free of any obstructions such as racks, shelves, cabinets, storerooms, or rubbish.

- Access from one stairway to an alternative stairway via a common corridor should best be available on each floor.

- Exit stairs at ground floor level should be separated from the rest of the building, such as storerooms, ground floor shops or other uses.

- Exit doors should open in the direction of exit when the room capacity exceeds 30 persons.

- Doors or gates should be set back at ground floor exit where there is a drop in level or a step. When they open outwards, they should not obstruct the public pedestrian flow.

# Means of access for firefighting and rescue

- Fireman’s lifts are used by firemen for rescue in the event of fire. Access to fireman’s lift at ground level should be available directly from a street and free from obstructions.

- Fireman’s lift lobbies protect the firemen in using the lift for rescue.  No alteration should be made to the lobby walls and doors.

- Exit staircases are used by the firemen for both access and rescue purposes.  They should be free from obstructions.

(iii)	Inspecting fire resisting components and construction

# Regular maintenance

Buildings are made up of different components.  Some of them are designed to be fire-rated for resisting spread of fire.  Building owners should keep these fire-resisting components under proper maintenance.  Unauthorized alterations to such components may affect their fire-resisting ability and thus the fire safety of the building and its occupiers.  If there is unauthorized alteration or defective fire-resisting component, the advice of an Authorized Person (AP) on the conditions and remedial proposals is necessary.  This section introduces the common types and functions of fire-resisting components and construction in a building.  They should not be altered without proper professional advice and the prior approval by the Building Authority.

# Walls and Floors

Most of the walls and floors in buildings serve to prevent the spread of fire and smoke from one part of a building to other parts, or from one building to another.  No unprotected opening should be made in such walls and floors.  If in doubt, the building owners should seek advice from an AP.

# Staircases

Other than the required fire-fighting equipment and artificial lighting installations, staircases should not normally accommodate electrical cables, air ducts or similar services.  Otherwise, such installations have to be properly protected by appropriate fire resisting enclosures.

Fire-resisting door (Fire door or smoke door)

Fire-resisting doors prevent the spread of fire and smoke from one part of a building to others and therefore must not be removed.  They should have adequate fire-resisting properties with self-closing device to keep them in a closed position. Replacement should be avoided unless with doors of the same performance.  Usually, the main entrance door to a flat or unit is a fire-resisting door.  The vision panel on a fire-resisting door, if found broken, should be replaced with suitable fire-resisting glass.

Other fire-resisting enclosures

Examples of fire-resisting enclosures include the enclosures to special hazard rooms such as commercial kitchens, dangerous goods stores, plant & machinery rooms, switch rooms, electric cable ducts, refuse chutes and refuse storage rooms.  The enclosures, walls, floors and doors should be maintained as fire-resisting elements.

(iv)	Fire service installations

The following are fire service installations and equipment commonly found in Hong Kong:

- Fire alarm system

- Fire/smoke detection system

- Fire hydrant/hose reel

- Automatic sprinkler system

- Automatic gas extraction installation

- Emergency lighting system

- Exit sign

- Fireman’s lift

- Fire extinguisher

- Dynamic smoke extraction system

- Fire dampers in ventilating/air-conditioning control system

Testing and routine maintenance requirements

To ensure that these essential installations work efficiently at all times, a registered fire service installation contractor should be employed by the building owners to inspect and maintain at least once every year.

When the fire service installations are found to be not working properly or damaged, a registered fire service installation contractor should be employed immediately to inspect and repair as necessary.

If the owners have any doubt about the qualification of a contractor for fire service installations, they may consult the Fire Protection Command of the Fire Services Department.  For more details on the execution of works, please refer to Section 4.3 of Chapter 4.  For useful telephone contacts, please refer to Appendix 2.

(b)	Surveillance

# Surveillance serves to prevent or stop misuses, trespasses, theft or crime in the premises.  The plan should include routes and frequencies of patrol going through all accessible common areas and hidden corners.  The patrol route should include staircases, roof tops, lobbies, open space, side and rear lanes, swimming pools, yards and podiums, machine rooms, switch rooms and ducts, refuse rooms and hidden corners.

(c)	Control

# The surveillance, checking and inspection carried out by the management personnel help all the owners to exercise control over the building for a safe, clean and pleasant living environment. Some areas requiring control are listed as follows:

- Identify all the malfunction and defective elements and facilities for immediate attention and repairs according to the agreed strategy and standard for proper functioning.

- Stop wedging open of fire doors to ensure proper protection of exit routes.

- Remove rubbish or obstructions from means of escape and other common parts, and give warnings to occupiers who have caused the irregularities as described above or violated the house rules.

- Prevent illegal extensions or misuses at the earliest possible time to prevent deterioration of environment.

- Stop any illegal connections of electricity, water, drainage, or signal cables for ensuring safety and proper functioning of utility supplies.

- Identify and prevent trespassers or any weak point in security which will lend itself to burglaries and trespasses.

3.4.3	Forming Organizations

# (a)	Functions

# Effective surveillance, inspection and control depend on a reliable reporting and recording system so that defects/loopholes/irregularities can be rectified the soonest possible. The system should cover a detailed plan serving the following functions:

- care-taking, knowing the owners & occupiers, identifying the strangers;

- preventing burglaries and trespassers;

- cleaning, disposing garbage and discarded furniture items and articles;

- repairing and replacing minor wearing items, e.g. light bulbs;

- posting notices and warnings, arranging emergency attendance to tackle critical situations;

- arranging tradesmen and contractors to carry out periodic maintenance to the facilities and installations;

- collecting management fee and keeping expenses records; and

- implementing an internal auditing system for cross checking and performance measurement.

# (b)	Types of Organizations

# With the above basic understanding on the scope of responsibilities for ensuring effective maintenance and management, owners should be able to appreciate the size and complexity of the job.  There should be someone to set up the system, plans, house rules and to execute them.  This requires full time attention of a property manager, not just a caretaker.  Furthermore, the owners should organize themselves and appoint representatives to audit check on the effectiveness and proper operation of the building management arrangements.  There are several types of owners or occupiers organizations, namely:

(i)	Mutual Aid Committee (MAC)

It involves not only the owners but also tenants/occupiers.  Its formation is comparatively easier than the other alternatives but is not recognized as a legal body under statue.

(ii)	Owners’ Committee established under DMC

It involves only owners and is not recognized as a legal body under statute.

(iii)	Owners’ Corporation (OC)

It is a legal entity formed in accordance with the Building Management Ordinance (Chapter 344).  For more details, please refer to Section 4.6 of Chapter 4.

#### 3.4.4	Taking out Appropriate Insurance Policies

Insurance is a major topic that deserves special consideration in details.

# (a)	Reasons for Maintaining Building Insurance

Building insurance provides compensation for financial losses in the case of death, injury, destruction and damage accidentally incurred through management of buildings, thus lowering the liabilities to be borne by the owners or management body of a building.

It is common for individual owners to exclude the above from the insurance coverage maintained for their units and personal properties.  Insurance covering common parts and facilities such as lifts, staircases, fire service installation, etc., of the building should be taken up by the Owners’ Corporation (OC) or the management body.

Without building insurance, owners will have to bear the loss, cost for repairing and compensation.  In case if money has to be raised for such purposes among all the owners, delay in repairs and disputes may result. Even if the damage is due to negligence of the OC or management company, individual owners may still be held liable.

# (b)	Types of Building Insurance

In general, there are three types of building insurance:

Property-All-Risks Insurance (Non-mandatory)

Such insurance usually covers loss or damages to the common facilities/parts of the building due to fire, storm, flood, malicious act, etc.

Third Party Liability Insurance

It covers claims for compensation and associated legal costs against the insured, as a result of damage or personal injury to a third party caused by the negligence of the insured or his employee in managing the building.  Readers may wish to note that the legislation requiring compulsory maintenance of this insurance will soon be effective and should always check with district offices or the web site of the Home Affairs Department for details.

Employees’ Compensation Insurance (Mandatory)

It is also known as “Workmen’s Compensation Insurance”.  If staff are involved in the building management, under the Employee Compensation Ordinance, their employer (i.e. OC, Mutual Aid Committee or property manager) is required to maintain such insurance policy to provide compensation for those injured or killed in the course of their employment.

# (c)	Insurance Policy

Information supplied to the insurance vendor for formulation of policy must be accurate and true.  Failure to do so may be regarded as an offence under the law and invalidate the policy.

Before adopting an insurance policy, attention should be paid to its coverage, terms and conditions.  A reputable vendor/broker should be chosen.  To attain the best value and secure the greatest insurance coverage with the most reasonable premium, quotations from a number of reliable insurance companies should be obtained for comparison before acceptance.  If insurance is arranged by the property manager, the policy should be endorsed in the joint name of the OC (or Mutual Aid Committee) and the manager.

After the policy has come into effect, owners should obtain a copy from the property manager. Owners should also be extremely cautious in scrutinizing any revision of terms as proposed by the vendor.

Sufficient coverage and the amount insured for compensation should be maintained. Some guidelines are given below:

| Types | Coverage |
| --- | --- |
| Property-All-Risks Insurance | The amount should be able to cover the current cost of repairing the common parts or replacing the common facilities of the building. |
| Third Party Liability Insurance | The amount is usually determined on the basis of the highest compensation payable for a single accident. Generally speaking, a larger building or a building with higher pedestrian flow warrants a larger amount of insurance coverage. |
| Employees’ Compensation Insurance | The amount should be determined on the basis of the total annual income of all the employees, including salaries, double pay, bonus, allowance, cash award, etc. Readers should always refer to the latest legislation for reference. |

The OC should review annually the terms and amount insured for various types of insurance for the building.  Policies and relevant documents, such as receipts for payment of premium, should also be displayed for inspection by owners.

Should accident occurs, the insurance company should be informed immediately and in no case later than the time frame stipulated in the policy to secure a valid claim.