Appendix B

(PNAP APP-2)

Section of Curtain Wall System installed at New Building

External wall of the building for the purpose of measurement of GFA and site coverage Raised floor Fire seal GMS bracket Insulation panel Internal finishes Suspended ceiling Curtain wall system Glass INTERIOR MINIMUM 300 mm from floor level Projection of the curtain wall system not exceeding 200 mm (domestic building) / 250 mm (non-domestic building) from the outer face of structural elements

Section of Curtain Wall System installed at Existing Building Raised floor Existing window Internal finishes MINIMUM 300 mm from floor level Suspended ceiling Existing window WINDOW Curtain wall system Glass Projection of the curtain wall system not exceeding 200 mm (domestic building) / 250 mm (non-domestic building) from the outer face of existing external wall External wall of the building for the purpose of measurement of GFA and site coverage INTERIOR Insulation panel Fire seal GMS bracket External finishes

(Rev. 11/2013)