Buildings Department

Practice Note for Authorized Persons

and Registered Structural Engineers

140

Building (Construction) Regulations 1990

The Building (Construction) Regulations 1990 sets out the performance requirements for compliance.  However, they do not contain reference to any specific standard.

2.		Appendix A lists those standards or technical criteria accepted by Building Authority as complying with the performance requirements in the Regulations.  Plans based on other standards or technical criteria may be approved if they can be shown to achieve the performance requirements.  It will facilitate the processing of such plans if full background to other standards or technical criteria, and their compatibility with local conditions, is detailed in the submission.

3.		In this connection, please approach the Buildings Department at an early stage for agreement in principle to any alternative standard being considered.

(Helen C P Lai YU)

Building Authority

Ref. :	BD GP/BREG/C/23

First issued December 1990

This revision August 1994 (AD/SE)

Index under :	Acceptable Standards - B(C)R 1990

Building (Construction) Regulations 1990

PNAP 140

Appendix A

Standards Acceptable to the

Building Authority

| Group | Standard | Title |
| --- | --- | --- |
| STRUCTURES BUILDING MATERIALS | BS 648:1964 BS 4076:1989 BS 5628:Part 1:1978 BS 6031:1981 Hong Kong Code of Practice Hong Kong Code of Practice Hong Kong Code of Practice Hong Kong Code of Practice BS 12:1989 BS 639:1986 BS 882:1983 BS 1014:1975 BS 1105:1981 BS 1191:Part 1:1973 BS 1191:Part 2:1973 BS 1230:Part 1:1985 BS 3100:1991 | Schedule of weights of building materials Specification for steel chimneys Code of practice for use of masonry : Structural use of unreinforced masonry Code of practice for earthworks Code of Practice for the Structural Use of Steel 1987 Code of Practice for the Structural Use of Concrete 1987 Code of Practice on Wind Effects 1983 Code of Practice for Fire Resisting Construction 1989 Specification for Portland cement Specification for covered carbon and carbon manganese steel electrodes for manual metal-arc welding Specification for aggregates from natural sources for concrete Specification for pigments for Portland cement and Portland cement products Specification for wood wool cement slabs up to 125 mm thick Specification for gypsum building plasters : Excluding premixed lightweight plasters Specification for gypsum building plasters : Premixed lightweight plasters Gypsum plasterboard : Specification for gypsum plasterboard excluding materials submitted to secondary operations Specification for steel castings for general purposes |

-  2  -

| Group | Standard | Title |
| --- | --- | --- |
| BUILDING MATERIALS | BS 3692:1967 BS 3892:Part 1:1982 BS 3921:1985 BS 4027:1980 BS 4190:1967 BS 4320:1968 BS 4360:1986 BS 4395:Part 1:1969 BS 4395:Part 2:1969 BS 4449:1988 BS 4482:1985 BS 4483:1985 BS 4486:1980 BS 4604:Part 1:1970 BS 4604:Part 2:1970 | Specification for ISO metric precision hexagon bolts, screws and nuts. Metric units Pulverized-fuel ash : Specification for pulverized-fuel ash for use as a cementitious component in structural concrete (The criterion for water requirement may not apply) Specification for clay bricks Specification for sulfate-resisting Portland cement Specification for ISO metric black hexagon bolts, screws and nuts Specification for metal washers for general engineering purposes. Metric series Specification for weldable structural steels Specification for high strength friction grip bolts and associated nuts and washers for structural engineering : General grade Specification for high strength friction grip bolts and associated nuts and washers for structural engineering : Higher grade bolts and nuts and general grade washers Specification for carbon steel bars for the reinforcement of concrete Specification for cold reduced steel wire for the reinforcement of concrete Specification for steel fabric for the reinforcement of concrete Specification for hot rolled and hot rolled and processed high tensile alloy steel bars for the prestressing of concrete Specification for the use of high strength friction grip bolts in structural steelwork. Metric series: General grade Specification for the use of high strength friction grip bolts in structural steelwork. Metric series: Higher grade (parallel shank) |

-  3  -

| Group | *Standard | Title |
| --- | --- | --- |
| BUILDING MATERIALS MATERIAL TESTS | BS 5075:Part 1:1982 BS 5075:Part 3:1985 BS 5135:1984 BS 5896:1980 BS 6588:1985 BS 476:Part 4:1970 BS 476:Part 20:1987 BS 476:Part 21:1987 BS 476:Part 22:1987 BS 476:Part 23:1987 BS 476:Part 24:1987 BS 2600:Part 1:1983 BS 2600:Part 2:1983 | Concrete admixtures : Specification for accelerating admixtures, retarding admixtures and water reducing admixtures Concrete admixtures : Specification for superplasticizing admixtures Specification for arc welding of carbon and carbon manganese steels Specification for high tensile steel wire and strand for the prestressing of concrete Specification for Portland pulverized-fuel ash cements Fire tests on building materials and structures : Non-combustibility test for materials Fire tests on building materials and structures : Method of determination of the fire resistance of elements of construction (general principles) Fire tests on building materials and structures : Method of determination of the fire resistance of loadbearing elements of construction Fire tests on building materials and structures : Methods of determination of the fire resistance of non-loadbearing elements of construction Fire tests on building materials and structures : Methods of determination of the contribution of components to the fire resistance of a structure Fire tests on building materials and structures : Method of determination of the fire resistance of ventilation ducts Radiographic examination of fusion welded butt joints in steel : Methods for steel 2 mm up to and including 50 mm thick Radiographic examination of fusion welded butt joints in steel : Methods for steel over 50 mm up to and including 200 mm thick |

-  4  -

| Group | Standard | Title |
| --- | --- | --- |
| MATERIAL TESTS | BS 3148:1980 BS 3923:Part 1:1986 BS 3923:Part 2:1972 BS 5289:1976 BS 6072:1981 BS 6443:1984 Hong Kong CS:1 1990 | Methods of test for water for making concrete (including notes on the suitability of the water) Methods for ultrasonic examination of welds : Methods for manual examination of fusion welds in ferritic steels Methods for ultrasonic examination of welds : Automatic examination of fusion welded butt joints in ferritic steels Visual inspection of fusion welded joints Method for magnetic particle flaw detection Method for penetrant flaw detection Testing Concrete (Volume 1 & 2) |

Note :	The editions referred to in the list and in the Codes of Practice should include any amendments current at 28 February 1994.  Such editions are the most suitable for Hong Kong and may not be the latest version of a British Standard.

Ref.: PNAP 140

This revision August 1994 (AD/SE)