| # 屋宇署 | 認可人士及註冊結構工程師作業備考 | 140 |
| --- | --- | --- |

《建築物（建造）規例》

《建築物（建造）規例》已有闡述對建築物、街道、建築工程及街道工程的設計及建造效能的表現的要求。然而，規例並未訂明具體的指令式標準。

2.	附錄A載列可為建築事務監督接受的標準或技術性準則。符合這些標準和準則，可視為達到《建築物（建造）規例》中的效能表現要求。對基於其他標準或技術性準則所製備的圖則，只要申請人可以證明該圖則能够達到上述效能表現要求，亦可獲得批准。如於呈交圖則時，同時附上有關標準或技術性準則的詳細背景資料，並說明其對本地情況的相配性，將有助審批圖則。

3.	如有意採用附錄A以外的其他標準，請盡早與屋宇署聯絡，以取得屋宇署原則上的同意。

建築事務監督張孝威

| 檔 號 | ： | BD GR/BREG/C/23 |
| --- | --- | --- |
| 初 版 | ： | 1990年12月 |
| 上次修訂版 | ： | 1994年8月 |
| 本修訂版 | ： | 2007年2月(助理署長／拓展2) －修訂附錄A |
| 編入索引 | ： | 可接受的標準 －《建築物(建造)規例》 |
|  |  | 《建築物(建造)規例》 |

附錄A

(認可人士及註冊結構工程師作業備考140)

建築事務監督可接受的標準

設計及建造

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 混凝土 | 香港作業守則 | 2004年混凝土的結構使用作業守則 |
| 耐火結構 | 香港作業守則 | 1996年耐火結構守則 |
| 基礎 | 香港作業守則 | 基礎作業守則 |
| 預製混凝土 | 香港作業守則 | 2003年預製混凝土建造守則 |
| 鋼材 | 香港作業守則 | 2005年鋼材的結構使用作業守則 |
|  |  | 1987年鋼材的結構使用作業守則#1 |
|  | BS 4076: 1989 | Specification for steel chimneys |
| 風力效應 | 香港作業守則 | 2004年香港風力效應守則 |
| 鋁材 | BS8118: Part 1: 1991 | Structural use of aluminium. Code of practice for design |
| 玻璃 | BS6262 Part 1-4, 6 & 7: 2005 | Glazing for buildings |
|  | BS 6262: 1982 #2 | Code of practice for glazing for buildings |
|  | BS 5516 Part 1 & 2: 2004 | Patent glazing and sloping glazing for buildings |
| 其他 | BS 5628: Part 1: 2005 | Code of practice for the use of masonry. Structural use of unreinforced masonry |
|  | BS 6031: 1981 | Code of practice for earthworks |
|  | BS 8298: 1994 | Code of practice for design and installation of natural stone cladding and lining |

#1	該作業守則將於2007年8月31日撤銷。

#2	部分BS6262：1982已被BS6262：2005取代。在發出BS6262全部7個部分的修訂版後，BS6262：1982會被撒銷。

混凝土物料、施工質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS 12: 1996 | Specification for Portland cement |
|  | BS 882: 1983 | Specification for aggregates from natural sources for concrete |
|  | BS 1014: 1975 | Specification for pigments for Portland cement and Portland cement products |
|  | BS 3892: Part 1: 1982 | Pulverized-fuel ash. Specification for pulverized-fuel ash for use as a cementitious component in structural concrete (The criterion for water requirement may not apply) |
|  | BS 4027: 1980 | Specification for sulphate-resisting Portland cement |
|  | BS 5075 Part 1: 1982 Part 3: 1985 | Concrete admixtures |
|  | BS 6588: 1985 | Specification for Portland pulverized-fuel ash cement |
|  | BS 8500 Part 1 & 2: 2002 | Concrete. Complementary British Standard to BS EN 206-1 |
|  | BS EN 197: Part 1: 2000 | Cement. Composition, specifications and conformity criteria for common cements |
|  | BS EN 206: Part 1: 2000 | Concrete. Specification, performance, production and conformity |
|  | BS EN 446: 1997 | Grout for prestressing tendons. Grouting procedures |
|  | BS EN 447: 1997 | Grout for prestressing tendons. Specification for common grout |
|  | BS EN 12620: 2002 | Aggregates for concrete |
| 鋼筋 | Hong Kong Construction Standard CS2: 1995 | Carbon Steel Bars for the Reinforcement of Concrete |
|  | BS 4447: 1973 | Specification for the performance of prestressing anchorages for post-tensioned construction |
|  | BS 4449: 1997 | Specification for carbon steel bars for the reinforcement of concrete |
|  | BS 4482: 1985 | Specification for cold reduced steel wire for the reinforcement of concrete |
|  | BS 4483: 1998 | Steel fabric for the reinforcement of concrete |
|  | BS 4486: 1980 | Specification for hot rolled and hot rolled and processed high tensile alloy steel bars for the prestressing of concrete |

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 鋼筋 | BS 5896: 1980 | Specification for high tensile steel wire and strand for the prestressing of concrete |
|  | BS 7123: 1989 | Specification for metal arc welding of steel for concrete reinforcement |
|  | BS 7973 Part 1 & 2: 2001 | Spacers and chairs for steel reinforcement and their specification |
|  | BS 8666: 2000 | Specification for scheduling, dimensioning, bending and cutting of steel reinforcement for concrete |
|  | EN 10080 | Steel for the reinforcement of concrete |
|  | EN 10138 | Prestressing steels |
|  | EN ISO17660 | Permitted welding process for reinforcement |
| 試驗 | Hong Kong Construction Standard CS1: 1990 | Testing Concrete (Volume 1 & 2) |
|  | Hong Kong Construction Standard CS2: 1995 | Carbon Steel Bars for the Reinforcement of Concrete |
|  | BS EN 445: 1997 | Grout for prestressing tendons. Test methods |

鋼材物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS 4360: 1986 #3 | Specification for weldable structural steels |
|  | BS 5950: Part 7: 1992 | Structural use of steelwork in building. Specification for materials and workmanship: cold formed sections |
|  | BS 7668: 1994 #3 | Specification for weldable structural steels. Hot finished structural hollow sections in weather resistant steels |
|  | BS 7668: 2004 | Weldable structural steels. Hot finished structural hollow sections in weather resistant steels. Specification |
|  | BS EN 10025 Part 1-6: 2004 | Hot rolled products of structural steels |
|  | BS EN 10113 #3 Part 2 & 3: 1993 | Hot-rolled products in weldable fine grain structural steels |
|  | BS EN 10137 #3 Part 2: 1996 | Plates and wide flats made of high yield strength structural steels in the quenched and tempered or precipitation hardened conditions. Delivery conditions for quenched and tempered steels |

#3  將於2007年8月31日分期撤銷。

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS EN 10155: 1993 #3 | Structural steels with improved atmospheric corrosion resistance. Technical delivery conditions |
|  | BS EN 10164: 1993 #3 | Steel products with improved deformation properties perpendicular to the surface of the product. Technical delivery conditions |
|  | BS EN 10164: 2004 | Steel products with improved deformation properties perpendicular to the surface of the product. Technical delivery conditions |
|  | BS EN 10210 #3 Part 1: 1994 | Hot finished structural hollow sections of non-alloy and fine grain structural steels. Technical delivery requirements |
|  | BS EN 10210 Part 1: 2006 | Hot finished structural hollow sections of non-alloy and fine grain steels. Technical delivery requirements |
|  | BS EN 10219 #3 Part 1: 1997 | Cold formed welded structural sections of non-alloy and fine grain steels. Technical delivery requirements |
|  | BS EN 10219 Part 1: 2006 | Cold formed welded structural hollow sections of non-alloy and fine grain steels. Technical delivery requirements |
| 螺栓 | BS 3692: 1967 #3 | Specification for ISO metric precision hexagon bolts, screws and nuts. Metric units |
|  | BS 3692: 2001 | ISO metric precision hexagon bolts, screws and nuts. Specification |
|  | BS 4190: 1967 #3 | Specification for ISO metric black hexagon bolts, screws and nuts |
|  | BS 4190: 2001 | ISO metric black hexagon bolts, screws and nuts. Specification |
|  | BS 4320: 1968 | Specification for metal washers for general engineering purposes. Metric series |
|  | BS 4395 #3 Part 1 & 2: 1969 | Specification for high strength friction grip bolts and associated nuts and washers for structural engineering |
|  | BS 4604 Part 1 & 2: 1970 | Specification for the use of high strength friction grip bolts in structural steelwork. Metric series |
|  | BS 4933: 1973 | Specification for ISO metric black cup and countersunk head bolts and screws with hexagon nuts |
|  | BS 7419: 1991 | Specification for holding down bolts |
|  | BS EN 14399 Part 1-6: 2005 | High strength structural bolting assemblies for preloading |
|  | BS EN ISO 4014: 2001 | Hexagon head bolts. Product grades A and B |
|  | BS EN ISO 4016: 2001 | Hexagon head bolts. Product grade C |
|  | BS EN ISO 4017: 2001 | Hexagon head screws. Product grades A and B |
|  | BS EN ISO 4018: 2001 | Hexagon head screws. Product grade C |
|  | BS EN ISO 4032: 2001 | Hexagon nuts, style 1. Product grades A and B |

#3  將於2007年8月31日分期撤銷。

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 螺栓 | BS EN ISO 4033: 2001 | Hexagon nuts, style 2. Product grades A and B |
|  | BS EN ISO 4034: 2001 | Hexagon nuts. Product grade C |
|  | BS EN ISO 7091: 2000 | Plain washers. Normal series. Product grade C |
| 焊枝 | BS 639: 1986 #3 | Specification for covered carbon and carbon manganese steel electrodes for manual metal-arc welding |
|  | BS EN 440: 1995 | Welding consumables. Wire electrodes and deposits for gas shielded metal arc welding of non-alloy and fine grain steels. Classification |
|  | BS EN 499: 1995 #3 | Welding consumables. Covered electrodes for manual metal arc welding of non-alloy and fine grain steels. Classification |
|  | BS EN 756: 2004 | Welding consumables. Solid wires, solid wire-flux and tubular cored electrode-flux combinations for submerged arc welding of non-alloy and fine grain steels. Classification |
|  | BS EN ISO 2560: 2005 | Welding consumables. Covered electrodes for manual metal arc welding of non-alloy and fine grain steels. Classification |
| 焊接標準 | BS 5135: 1984 #3 | Specification for arc welding of carbon and carbon manganese steels |
|  | BS EN 1011 Part 1: 1998 Part 2: 2001 | Welding. Recommendations for welding of metallic materials |
|  | BS EN 22553: 1995 | Welded, brazed and soldered joints. Symbolic representation on drawings |
| 焊接程序規格 | BS 4870 Part 1: 1981 #3 Part 3: 1985 #3 Part 4: 1988 #3 | Specification for approval testing of welding procedures |
|  | BS EN 288: 1992 #3 | Specification and approval of welding procedures for metallic materials. Welding procedures specification for arc welding |
|  | BS EN 1418: 1998 | Welding personnel. Approval testing of welding operators for fusion welding and resistance weld setters for fully mechanized and automatic welding of metallic materials |
|  | BS EN ISO 15614 Part 1: 2004 Part 8: 2002 | Specification and qualification of welding procedures for metallic materials. Welding procedure test |

#3  將於2007年8月31日分期撤銷。

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 焊接人員資格鑒定考驗 | BS 4871 Part 1: 1982 #3 Part 3: 1985 | Specification for approval testing of welders working to approved welding procedures |
|  | BS 4872 Part 1: 1982 | Specification for approval testing of welders when welding procedure approval is not required. Fusion welding of steel |
|  | BS EN 287 #3 Part 1: 1992 | Approval testing of welders for fusion welding. Steels |
|  | BS EN 287 Part 1: 2004 | Qualification test of welders. Fusion welding. Steels |
| 防護處理 | BS 729: 1971 #3 | Specification for hot dip galvanized coatings on iron and steel articles |
|  | BS 4652: 1995 | Specification for zinc-rich priming paint (Organic media) |
|  | BS 4921: 1988 | Specification for sherardized coatings on iron or steel |
|  | BS EN 22063: 1994 #3 | Metallic and other inorganic coatings. Thermal spraying. Zinc, aluminium and their alloys |
|  | BS EN ISO 1461: 1999 | Hot dip galvanized coatings on fabricated iron and steel articles. Specifications and test methods |
|  | BS EN ISO 2063: 2005 | Thermal spraying. Metallic and other inorganic coatings. Zinc, aluminium and their alloys |
|  | BS EN ISO 11124 Part 1-4: 1997 | Preparation of steel substrates before application of paints and related products |
| 物料的破壞性測試方法 | BS 18: 1987 #3 | Method for tensile testing of metals (including aerospace materials) |
|  | BS EN 10002 Part 1: 2001 | Tensile testing of metallic materials. Method of test at ambient temperature |
|  | BS EN 10045 Part 1: 1990 | Charpy impact test on metallic materials. Test method (V- and U-notches) |
|  | BS EN ISO 6506 Part 1-3: 2005 | Metallic materials. Brinell hardness test |
|  | BS EN ISO 6507 Part 1-3: 2005 | Metallic materials. Vickers hardness test |
| 非破壞性測試方法 | BS 2600 #3 Part 1: 1983 Part 2: 1973 | Radiographic examination of fusion welded butt joints in steel |
|  | BS 3923 #3 Part 1: 1986 Part 2: 1972 | Methods for ultrasonic examination of welds |

#3  將於2007年8月31日分期撤銷。

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 非破壞性測試方法 | BS 5289: 1976 #3 | Code of practice. Visual inspection of fusion welded joints |
|  | BS 6072: 1981 #3 | Method for magnetic particle flaw detection |
|  | BS 6443: 1984 #3 | Method for penetrant flaw detection |
|  | BS EN 571 Part 1: 1997 | Non-destructive testing. Penetrant testing. General principles |
|  | BS EN 970: 1997 | Non-destructive examination of fusion welds. Visual examination |
|  | BS EN 1290: 1998 | Non-destructive examination of welds. Magnetic particle examination of welds |
|  | BS EN 1435: 1997 | Non-destructive examination of welds. Radiographic examination of welded joints |
|  | BS EN 1714: 1998 | Non-destructive testing of welded joints. Ultrasonic testing of welded joints |
|  | BS EN ISO 9934 Part 1: 2001 | Non-destructive testing. Magnetic particle testing. General principles |

鋁質物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS 1161: 1977 | Specification for aluminium alloy sections for structural purposes |
|  | BS EN 485 Part 1: 1994 Part 2: 2004 Part 3: 2003 Part 4: 1994 | Aluminium and aluminium alloys. Sheet, strip and plate |
|  | BS EN 515: 1993 | Aluminium and aluminium alloys. Wrought products. Temper designations |
|  | BS EN 573 Part 1: 2004 Part 2: 1995 Part 3: 2003 Part 4: 2004 | Aluminium and aluminium alloys. Chemical composition and form of wrought products |
|  | BS EN 755 Part 1-2: 1997 Part 3-6: 1996 Part 7-8: 1998 Part 9: 2001 | Aluminium and aluminium alloys. Extruded rod/bar, tube and profiles |
|  | BS EN 12020 Part 1 & 2: 2001 | Aluminium and aluminium alloys. Extruded precision profiles in alloys EN AW-6060 and EN AW-6063 |

#3  將於2007年8月31日分期撤銷。

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 接駁 | BS 1473: 1972 | Specification for wrought aluminium and aluminium alloys for general engineering purposes – rivet, bolt and screw stock |
|  | BS 1494 Part 1: 1964 | Specification for fixing accessories for building purposes. Fixings for sheet, roof and wall coverings |
| 焊接 | BS 4872 Part 2: 1976 | Specification for approval testing of welders when welding procedure approval is not required. TIG or MIG welding of aluminium and its alloys |
|  | BS EN 1011 Part 4: 2000 | Welding. Recommendations for welding of metallic materials. Arc welding of aluminium and aluminium alloys |
|  | BS EN ISO 4063: 2000 | Welding and allied processes. Nomenclature of processes and reference numbers |
|  | BS EN ISO 9606 Part 2: 2004 | Qualification test of welders. Fusion welding. Aluminium and aluminium alloys |
|  | BS EN ISO 15614 Part 2: 2005 | Specification and qualification of welding procedures for metallic materials. Welding procedure test. Arc welding of aluminium and its alloys |
| 試驗 | BS 5080 Part 1: 1993 Part 2: 1986 | Structural fixings in concrete and masonry |
|  | BS EN 970: 1997 | Non-destructive examination of fusion welds. Visual examination |
|  | BS EN 10002 Part 1: 2001 | Tensile testing of metallic materials. Method of test at ambient temperature |
|  | BS EN ISO 6506 Part 1: 2005 | Metallic materials. Brinell hardness test. Test method |
|  | BS EN ISO 6507 Part 1: 2005 | Metallic materials. Vickers hardness test. Test method |
|  | BS EN ISO 7438: 2005 | Metallic materials. Bend test |

玻璃物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS 952 Part 1: 1995 Part 2: 1980 | Glass for glazing |
|  | BS 6206: 1981 | Specification for impact performance requirements for flat safety glass and safety plastics for use in buildings |
|  | BS EN 572 Part 1 - Part 9: 2004 | Glass in building. Basic soda lime silicate glass products |
| 物料 | BS EN 1863 Part 1: 2000 Part 2: 2004 | Glass in building. Heat strengthened soda lime silicate glass |
|  | BS EN 12150 Part 1: 2000 Part 2: 2004 | Glass in building. Thermally toughened soda lime silicate safety glass |
|  | BS EN 14179 Part 1 & 2: 2005 | Glass in building. Heat soaked thermally toughened soda lime silicate safety glass |
|  | BS EN ISO 12543 Part 1, 3-6: 1998 | Glass in building. Laminated glass and laminated safety glass |
| 試驗 | BS 6206: 1981 | Specification for impact performance requirements for flat safety glass and safety plastics for use in buildings |
|  | BS EN 12600: 2002 | Glass in building. Pendulum test. Impact test method and classification for flat glass |

其他物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 不銹鋼 | ## BS EN 10088 Part 1-3: 2005 | ## Stainless steels |
|  | BS EN ISO 3506 Part 1 & 2: 1998 | Mechanical properties of corrosion-resistant stainless-steel fasteners |
|  | BS EN 1011 Part 3: 2000 | Welding. Recommendations for welding of metallic materials. Arc welding of stainless steels |
| 密封劑 | BS 6213: 2000 | Selection of construction sealants. Guide |
|  | BS 3712 Part 1: 1991 Part 2: 1973 Part 3: 1974 Part 4: 1991 | Building and construction sealants |
| 石膏灰泥 | BS 1191 Part 1 & 2: 1973 | ## Specification for gypsum building plasters |
| 石膏板 | BS 1230: Part 1: 1985 | Gypsum plasterboard. Specification for plasterboard excluding materials submitted to secondary operations |
| 木絲板 | BS 1105: 1981 | Specification for wood wool cement slabs up to 125mm thick |
| 天然石塊 | BS EN 12372: 1999 | Natural stone test methods. Determination of flexural strength under concentrated load |
| 砌石 | BS 3921: 1985 | Specification for clay bricks |
| 防火試驗 | BS 476 Part 4 : 1970 Part 20: 1987 Part 21: 1987 Part 22: 1987 Part 23: 1987 Part 24: 1987 | Fire tests on building materials and structures |
| 錨固 | BS 5080 Part 1: 1993 Part 2: 1986 | Structural fixings in concrete and masonry |

註：	本表以及作業守則中所提到的版本應已包括2007年1月之前的所有修訂。表列版本是最適合本港情況的版本，但並不一定是該等標準的最新版本。

(2007年2月修訂)