| Buildings Department | Practice Note for Authorized Persons, Registered Structural Engineers and Registered Geotechnical Engineers | APP-53 |
| --- | --- | --- |

Building (Construction) Regulations

The Building (Construction) Regulations set out the performance requirements for the design and construction of building, street, building works and street works.  However, they do not contain reference to any specific prescriptive standard.

2.	Appendix A lists those standards or technical criteria accepted by the Building Authority as complying with the performance requirements stipulated in the Regulations.  Plans based on other standards or technical criteria may be approved if they can be shown to achieve the performance requirements.  It will facilitate the processing of such plans if full background to other standards or technical criteria, and their compatibility with local conditions, is detailed in the submission.

3.	In this connection, please approach the Buildings Department at an early stage for agreement in principle to any alternative standard being considered.

( AU Choi-kai )

Building Authority

Ref. :    BD GP/BREG/C/23

This PNAP is previously known as PNAP 140

First issue 	December 1990

Last revision	February 2007

This revision 	March 2011(AD/NB2) - Appendix A revised

Appendix A

(PNAP APP-53)

Standards/Technical Criteria Acceptable to the

Building Authority

# Design and Construction

| Category | Standard/ Technical Criterion | Title |
| --- | --- | --- |
| Concrete | Hong Kong Code of Practice | Code of Practice for Structural Use of Concrete 2004 |
| Fire Resisting Construction | Hong Kong Code of Practice | Code of Practice for Fire Resisting Construction 1996 |
| Foundation | Hong Kong Code of Practice | Code of Practice for Foundations |
| Precast Concrete | Hong Kong Code of Practice | Code of Practice for Precast Concrete Construction 2003 |
| Steel | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
|  | Explanatory Materials | Explanatory Materials to Code of Practice for the Structural Use of Steel 2005 |
|  | BS 4076: 1989 | Specification for steel chimneys |
| Wind Effect | Hong Kong Code of Practice | Code of Practice on Wind Effects in Hong Kong 2004 |
|  | Explanatory Materials | Explanatory Materials to the Code of Practice on Wind Effects in Hong Kong 2004 |
| Aluminium | BS 8118: Part 1: 1991 | Structural use of aluminium. Code of practice for design |
| Glass | BS 6262: Part 1-4, 6 & 7: 2005 | Glazing for buildings |
|  | BS 6262: Part 5: 1982 # | Code of practice for glazing for buildings |
|  | BS 5516: Part 1 & 2: 2004 | Patent glazing and sloping glazing for buildings |
| Category | Standard/ Technical Criterion | Title |
| Timber | BS5268-2:2002 | Structural Use of Timber. Code of Practice for Permissible Stress Design, Materials and Workmanship |
|  | BS5268-3:2006 | Structural Use of Timber. Code of Practice for Truss Rafter Roofs |
|  | BS5268-4:1990 | Structural Use of Timber. Fire Resistance of Timber Structures |
| Miscellaneous | BS 5628: Part 1: 2005 | Code of practice for the use of masonry. Structural use of unreinforced masonry |
|  | BS 6031: 1981 | Code of practice for earthworks |
|  | BS 8298: 1994 | Code of practice for design and installation of natural stone cladding and lining |

#	BS 6262: 1982 has been partially replaced by various parts of BS 6262: 2005.  It will be withdrawn upon publication of all seven parts of the revised BS 6262.

# Concrete Materials, Workmanship and Testing

| Category | Standard/ Technical Criterion | Title |
| --- | --- | --- |
| Material | Hong Kong Code of Practice | Code of Practice for Structural Use of Concrete 2004 |
|  | BS 882: 1992 *1 | Specification for aggregates from natural sources for concrete |
|  | BS 1014: 1975 | Specification for pigments for Portland cement and Portland cement products |
|  | BS 3892: Part 1: 1997 *1 | Pulverized-fuel ash. Specification for pulverized-fuel ash for use as a cementitious component in structural concrete (The criterion for water requirement may not apply) |
|  | BS 4027: 1996*1 | Specification for sulphate-resisting Portland cement |
| Material | BS 6588: 1985 | Specification for Portland pulverized-fuel ash cement |
| Steel Reinforcing Bars | Hong Kong Code of Practice | Code of Practice for Structural Use of Concrete 2004 |
|  | Hong Kong Construction Standard CS2: 1995 | Carbon Steel Bars for the Reinforcement of Concrete |
| Testing | Hong Kong Code of Practice | Code of Practice for the Structural Use of Concrete 2004 |
|  | Hong Kong Construction Standard CS1:2010 | Testing Concrete (Volume 1 & 2) |
|  | Hong Kong Construction Standard CS2 : 1995 | Carbon Steel Bars for the Reinforcement of Concrete |

*1 	Updated version other than that shown in Annex A of Code of Practice for Structural Use of Concrete 2004.

# Steel Materials, Workmanship and Testing

| Category | Standard/ Technical Criterion | Title |
| --- | --- | --- |
| Material | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
|  | BS 7668: 2004 *2 | Weldable structural steels. Hot finished structural hollow sections in weather resistant steels. Specification |
|  | BS EN 10164: 2004 *2 | Steel products with improved deformation properties perpendicular to the surface of the product. Technical delivery conditions |
|  | BS EN 10210 *2 Part 1: 2006 | Hot finished structural hollow sections of non-alloy and fine grain steels. Technical delivery requirements |
|  | BS EN 10219 *2 Part 1: 2006 | Cold formed welded structural hollow sections of non-alloy and fine grain steels. Technical delivery requirements |
| Bolt | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
| Bolt | BS 3692: 2001*2 | ISO metric precision hexagon bolts, screws and nuts. Specification |
|  | BS 4190: 2001 *2 | ISO metric black hexagon bolts, screws and nuts. Specification |
|  | BS EN 14399 Part 1-6: 2005 | High strength structural bolting assemblies for preloading |
| Welding Consumables | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
|  | BS EN ISO 2560: 2005 | Welding consumables. Covered electrodes for manual metal arc welding of non-alloy and fine grain steels. Classification |
| Welding Standard | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
| Welding procedure specification | BS EN 1418: 1998 | Welding personnel. Approval testing of welding operators for fusion welding and resistance weld setters for fully mechanized and automatic welding of metallic materials |
|  | BS EN ISO 15614 Part 1: 2004 Part 8: 2002 | Specification and qualification of welding procedures for metallic materials. Welding procedure test |

*2	Updated version other than that shown in Annex A of Code of Practice for the Structural Use of Steel 2005

| Category | Standard/ Technical Criterion | Title |
| --- | --- | --- |
| Welder Qualification Tests | BS 4871 Part 3: 1985 | Specification for approval testing of welders working to approved welding procedures. Arc welding of tube to tube-plaste joints in metallic materials |
|  | BS 4872 Part 1: 1982 | Specification for approval testing of welders when welding procedure approval is not required. Fusion welding of steel |
|  | BS EN 287 Part 1: 2004 | Qualification test of welders. Fusion welding. Steels |

| Category | Standard/ Technical Criterion | Title |
| --- | --- | --- |
| Protective Treatment | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
|  | BS EN ISO 11124 Part 1-4: 1997 | Preparation of steel substrates before application of paints and related products |
| Destructive Test of Material | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |
|  | BS EN ISO 6506 Part 1-3: 2005 | Metallic materials. Brinell hardness test |
|  | BS EN ISO 6507 Part 1-3: 2005 | Metallic materials. Vickers hardness test |
| Non-Destructive Test Materials | Hong Kong Code of Practice | Code of Practice for the Structural Use of Steel 2005 |

Aluminium Materials, Workmanship and Testing

| Category | Standard | Title |
| --- | --- | --- |
| Material | BS 8118: Part 2: 1991 | Structural use of aluminium. Specification for materials, workmanship and protection |
|  | BS 1161: 1977 | Specification for aluminium alloy sections for structural purposes |
|  | BS EN 485 Part 1: 1994 Part 2: 2004 Part 3: 2003 Part 4: 1994 | Aluminium and aluminium alloys. Sheet, strip and plate |
|  | BS EN 515: 1993 | Aluminium and aluminium alloys. Wrought products. Temper designations |
| Material | BS EN 573 Part 1: 2004 Part 2: 1995 Part 3: 2003 Part 4: 2004 | Aluminium and aluminium alloys. Chemical composition and form of wrought products |
|  | BS EN 755 Part 1-2: 1997 Part 3-6: 1996 Part 7-8: 1998 Part 9: 2001 | Aluminium and aluminium alloys. Extruded rod/bar, tube and profiles |
|  | BS EN 12020 Part 1 & 2: 2001 | Aluminium and aluminium alloys. Extruded precision profiles in alloys EN AW-6060 and EN AW-6063 |
| Connection | BS 1473: 1972 | Specification for wrought aluminium and aluminium alloys for general engineering purposes – rivet, bolt and screw stock |
|  | BS 1494 Part 1: 1964 | Specification for fixing accessories for building purposes. Fixings for sheet, roof and wall coverings |
| Welding | BS 4872 Part 2: 1976 | Specification for approval testing of welders when welding procedure approval is not required. TIG or MIG welding of aluminium and its alloys |
|  | BS EN 1011 Part 4: 2000 | Welding. Recommendations for welding of metallic materials. Arc welding of aluminium and aluminium alloys |
|  | BS EN ISO 4063: 2000 | Welding and allied processes. Nomenclature of processes and reference numbers |
|  | BS EN ISO 9606 Part 2: 2004 | Qualification test of welders. Fusion welding. Aluminium and aluminium alloys |
|  | BS EN ISO 15614 Part 2: 2005 | Specification and qualification of welding procedures for metallic materials. Welding procedure test. Arc welding of aluminium and its alloys |
| Testing | BS 5080 Part 1: 1993 Part 2: 1986 | Structural fixings in concrete and masonry |
|  | BS EN 970: 1997 | Non-destructive examination of fusion welds. Visual examination |
|  | BS EN 1002 Part 1: 2001 | Tensile testing of metallic materials. Method of test at ambient temperature |
|  | BS EN ISO 6506 Part 1: 2005 | Metallic materials. Brinell hardness test. Test method |
|  | BS EN ISO 6507 Part 1: 2005 | Metallic materials. Vickers hardness test. Test method |
|  | BS EN ISO 7438: 2005 | Metallic materials. Bend test |

Timber Materials & Workmanship

| Category | Standard | Title |
| --- | --- | --- |
| Preservative Treatment | BS 5268-5: 2000 | Structural Use of Timber. Code of Practice for the Preservative Treatment of Structural Timber. |

Glass Materials, Workmanship and Testing

| Category | Standard | Title |
| --- | --- | --- |
| Material | BS 952 Part 1: 1995 Part 2: 1980 | Glass for glazing |
|  | BS 6206: 1981 | Specification for impact performance requirements for flat safety glass and safety plastics for use in buildings |
|  | BS EN 572 Part 1-9: 2004 | Glass in building. Basic soda lime silicate glass products |
| Material | BS EN 1863 Part 1: 2000 Part 2: 2004 | Glass in building. Heat strengthened soda lime silicate glass |
|  | BS EN 12150 Part 1: 2000 Part 2: 2004 | Glass in building. Thermally toughened soda lime silicate safety glass |
|  | BS EN 14179 Part 1 & 2: 2005 | Glass in building. Heat soaked thermally toughened soda lime silicate safety glass |
|  | BS EN ISO 12543 Part 1, 3-6: 1998 | Glass in building. Laminated glass and laminated safety glass |
| Testing | BS 6206: 1981 | Specification for impact performance requirements for flat safety glass and safety plastics for use in buildings |
|  | BS EN 12600: 2002 | Glass in building. Pendulum test. Impact test method and classification for flat glass |

Miscellaneous Materials, Workmanship and Testing

| Category | Standard | Title |
| --- | --- | --- |
| Stainless Steel | ## BS EN 10088 Part 1-3: 2005 | ## Stainless steels |
|  | BS EN ISO 3506 Part 1 & 2: 1998 | Mechanical properties of corrosion-resistant stainless-steel fasteners |
|  | BS EN 1011 Part 3: 2000 | Welding. Recommendations for welding of metallic materials. Arc welding of stainless steels |

| Category | Standard | Title |
| --- | --- | --- |
| Sealant | BS 6213: 2000 | Selection of construction sealants. Guide |
|  | BS 3712 Part 1: 1991 Part 2: 1973 Part 3: 1974 Part 4: 1991 | Building and construction sealants |
| Gypsum Plaster | BS 1191 Part 1 & 2: 1973 | ## Specification for gypsum building plasters |
| Gypsum Plaster Board | ## BS 1230: Part 1: 1985 | Gypsum plasterboard. Specification for plasterboard excluding materials submitted to secondary operations |
| ## Wood Wool Slab | ## BS 1105: 1981 | Specification for wood wool cement slabs up to 125mm thick |
| Natural Stone | BS EN 12372: 1999 | Natural stone test methods. Determination of flexural strength under concentrated load |
| Masonry | BS 3921: 1985 | Specification for clay bricks |
| Fire - Testing | BS 476 Part 4 : 1970 Part 20: 1987 Part 21: 1987 Part 22: 1987 Part 23: 1987 Part 24: 1987 | Fire tests on building materials and structures |
| Anchors | BS 5080 Part 1: 1993 Part 2: 1986 | Structural fixings in concrete and masonry |

Note :	The editions referred to in the list and in the Codes of Practice should include any amendments current in March 2011.  Such editions are the most suitable for Hong Kong and may not be the latest version of a Standard.

(Rev.  3/2011)