| 屋宇署 | 認可人士、註冊結構工程師及註冊岩土工程師作業備考 | APP-53 |
| --- | --- | --- |

《建築物（建造）規例》

《建築物（建造）規例》已有闡述對建築物、街道、建築工程及街道工程的設計及建造效能的表現的要求。然而，規例並未訂明具體的指令式標準。

2.	附錄A載列可為建築事務監督接受的標準或技術性準則。符合這些標準和準則，可視為達到《建築物（建造）規例》中的效能表現要求。對基於其他標準或技術性準則所製備的圖則，只要申請人可以證明該圖則能够達到上述效能表現要求，亦可獲得批准。如於呈交圖則時，同時附上有關標準或技術性準則的詳細背景資料，並說明其對本地情況的相配性，將有助審批圖則。

3.	如有意採用附錄A以外的其他標準，請盡早與屋宇署聯絡，以取得屋宇署原則上的同意。

建築事務監督區載佳

| 檔 號 | ： | BD GR/BREG/C/23 |
| --- | --- | --- |
| 本作業備考前稱《認可人士及註冊結構工程師作業備考》140. |
| 初 版 | ： | 1990年12月 |
| 上次修訂版 | ： | 2007年2月 |
| 本修訂版 | ： | 2011年3月(助理署長／拓展2) －修訂附錄A |

附錄A

(認可人士及註冊結構工程師作業備考APP-53)

建築事務監督可接受的標準/技術性準則

設計及建造

| 類別 | 標準/技術性準則 | 標題 |
| --- | --- | --- |
| 混凝土 | 香港作業守則 | 2004年混凝土結構使用作業守則 |
| 耐火結構 | 香港作業守則 | 1996年耐火結構守則 |
| 基礎 | 香港作業守則 | 基礎作業守則 |
| 預製混凝土 | 香港作業守則 | 2003年預製混凝土建造守則 |
| 鋼材 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
|  | 說明資料 | Explanatory Materials to Code of Practice for the Structural Use of Steel 2005 |
|  | BS 4076: 1989 | Specification for steel chimneys |
| 風力效應 | 香港作業守則 | 2004年香港風力效應守則 |
|  | 說明資料 | 香港風力效應作業守則2004年說明資料 |
| 鋁材 | BS8118: Part 1: 1991 | Structural use of aluminium. Code of practice for design |
| 玻璃 | BS6262 Part 1-4, 6 & 7: 2005 | Glazing for buildings |
|  | BS 6262: Part 5:1982 # | Code of practice for glazing for buildings |
|  | BS 5516 Part 1 & 2: 2004 | Patent glazing and sloping glazing for buildings |
| 木材 | BS 5268-2: 2002 | Structural Use of Timber. Code of Practice for Permissible Stress Design, Materials and Workmanship |
|  | BS 5268-3: 2006 | Structural Use of Timber. Code of Practice for Truss Rafter Roofs |
|  | BS 5268-4: 1990 | Structural Use of Timber. Fire Resistance of Timber Structures |
| 其他 | BS 5628: Part 1: 2005 | Code of practice for the use of masonry. Structural use of unreinforced masonry |
|  | BS 6031: 1981 | Code of practice for earthworks |
|  | BS 8298: 1994 | Code of practice for design and installation of natural stone cladding and lining |

#	部分BS6262：1982已被BS6262：2005取代。在發出BS6262:2005全部7個部分的修訂版後，BS6262：1982會被撒銷。

混凝土物料、施工質量及試驗

| 類別 | 標準/技術性準則 | 標題 |
| --- | --- | --- |
| 物料 | 香港作業守則 | 2004年混凝土結構使用作業守則 |
|  | BS 882: 1992 *1 | Specification for aggregates from natural sources for concrete |
|  | BS 1014: 1975 | Specification for pigments for Portland cement and Portland cement products |
|  | BS 3892: Part 1: 1997*1 | Pulverized-fuel ash. Specification for pulverized-fuel ash for use as a cementitious component in structural concrete (The criterion for water requirement may not apply) |
|  | BS 4027: 1996*1 | Specification for sulphate-resisting Portland cement |
|  | BS 6588: 1985 | Specification for Portland pulverized-fuel ash cement |
| 鋼筋 | 香港作業守則 | 2004年混凝土結構使用作業守則 |
|  | Hong Kong Construction Standard CS2: 1995 | Carbon Steel Bars for the Reinforcement of Concrete |
| 試驗 | 香港作業守則 | 2004年混凝土結構使用作業守則 |
|  | Hong Kong Construction Standard CS1: 2010 | Testing Concrete (Volume 1 & 2) |
|  | Hong Kong Construction Standard CS2: 1995 | Carbon Steel Bars for the Reinforcement of Concrete |

*1 有關《2004年混凝土結構作業守則》附錄A內所載的認可標準，應參考此修訂版。

鋼材物料、工程質量及試驗

| 類別 | 標準/技術性準則 | 標題 |
| --- | --- | --- |
| 物料 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
|  | BS 7668: 2004*2 | Weldable structural steels. Hot finished structural hollow sections in weather resistant steels. Specification |
|  | BS EN 10164: 2004*2 | Steel products with improved deformation properties perpendicular to the surface of the product. Technical delivery conditions |
| 物料 | BS EN 10210*2 Part 1: 2006 | Hot finished structural hollow sections of non-alloy and fine grain steels. Technical delivery requirements |
|  | BS EN 10219*2 Part 1: 2006 | Cold formed welded structural hollow sections of non-alloy and fine grain steels. Technical delivery requirements |
| 螺栓 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
|  | BS 3692: 2001*2 | ISO metric precision hexagon bolts, screws and nuts. Specification |
|  | BS 4190: 2001*2 | ISO metric black hexagon bolts, screws and nuts. Specification |
|  | BS EN 14399 Part 1-6: 2005 | High strength structural bolting assemblies for preloading |
| 焊枝 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
|  | BS EN ISO 2560: 2005 | Welding consumables. Covered electrodes for manual metal arc welding of non-alloy and fine grain steels. Classification |
| 焊接標準 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
| 焊接程序規格 | BS EN 1418: 1998 | Welding personnel. Approval testing of welding operators for fusion welding and resistance weld setters for fully mechanized and automatic welding of metallic materials |
|  | BS EN ISO 15614 Part 1: 2004 Part 8: 2002 | Specification and qualification of welding procedures for metallic materials. Welding procedure test |

*2有關《2005年鋼材結構作業守則》附錄A內所載的認可標準，應參考此修訂版。

| 類別 | 標準/技術性準則 | 標題 |
| --- | --- | --- |
| 焊接人員資格鑒定考驗 | BS 4871 Part 3: 1985 | Specification for approval testing of welders working to approved welding procedures. Arc welding of tube to tube-plaste joints in metallic materials |
|  | BS 4872 Part 1: 1982 | Specification for approval testing of welders when welding procedure approval is not required. Fusion welding of steel |
|  | BS EN 287 Part 1: 2004 | Qualification test of welders. Fusion welding. Steels |
| 防護處理 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
|  | BS EN ISO 11124 Part 1-4: 1997 | Preparation of steel substrates before application of paints and related products |
| 物料的破壞性測試方法 | 香港作業守則 | 2005年鋼材結構使用作業守則 |
|  | BS EN ISO 6506 Part 1-3: 2005 | Metallic materials. Brinell hardness test |
|  | BS EN ISO 6507 Part 1-3: 2005 | Metallic materials. Vickers hardness test |
| 非破壞性測試方法 | 香港作業守則 | 2005年鋼材結構使用作業守則 |

鋁質物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS 8118: Part 2: 1991 | Structural use of aluminium. Specification for materials, workmanship and protection |
|  | BS 1161: 1977 | Specification for aluminium alloy sections for structural purposes |
|  | BS EN 485 Part 1: 1994 Part 2: 2004 Part 3: 2003 Part 4: 1994 | Aluminium and aluminium alloys. Sheet, strip and plate |
|  | BS EN 515: 1993 | Aluminium and aluminium alloys. Wrought products. Temper designations |
|  | BS EN 573 Part 1: 2004 Part 2: 1995 Part 3: 2003 Part 4: 2004 | Aluminium and aluminium alloys. Chemical composition and form of wrought products |
|  | BS EN 755 Part 1-2: 1997 Part 3-6: 1996 Part 7-8: 1998 Part 9: 2001 | Aluminium and aluminium alloys. Extruded rod/bar, tube and profiles |
|  | BS EN 12020 Part 1 & 2: 2001 | Aluminium and aluminium alloys. Extruded precision profiles in alloys EN AW-6060 and EN AW-6063 |
| 接駁 | BS 1473: 1972 | Specification for wrought aluminium and aluminium alloys for general engineering purposes – rivet, bolt and screw stock |
|  | BS 1494 Part 1: 1964 | Specification for fixing accessories for building purposes. Fixings for sheet, roof and wall coverings |
| 焊接 | BS 4872 Part 2: 1976 | Specification for approval testing of welders when welding procedure approval is not required. TIG or MIG welding of aluminium and its alloys |
|  | BS EN 1011 Part 4: 2000 | Welding. Recommendations for welding of metallic materials. Arc welding of aluminium and aluminium alloys |
|  | BS EN ISO 4063: 2000 | Welding and allied processes. Nomenclature of processes and reference numbers |
|  | BS EN ISO 9606 Part 2: 2004 | Qualification test of welders. Fusion welding. Aluminium and aluminium alloys |
|  | BS EN ISO 15614 Part 2: 2005 | Specification and qualification of welding procedures for metallic materials. Welding procedure test. Arc welding of aluminium and its alloys |
| 試驗 | BS 5080 Part 1: 1993 Part 2: 1986 | Structural fixings in concrete and masonry |
|  | BS EN 970: 1997 | Non-destructive examination of fusion welds. Visual examination |
|  | BS EN 10002 Part 1: 2001 | Tensile testing of metallic materials. Method of test at ambient temperature |
|  | BS EN ISO 6506 Part 1: 2005 | Metallic materials. Brinell hardness test. Test method |
|  | BS EN ISO 6507 Part 1: 2005 | Metallic materials. Vickers hardness test. Test method |
|  | BS EN ISO 7438: 2005 | Metallic materials. Bend test |

木材物料及施工質量

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 防腐處理 | BS 5268-5: 2000 | Structural Use of Timber. Code of Practice for the Preservative Treatment of Structural Timber. |

玻璃物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 物料 | BS 952 Part 1: 1995 Part 2: 1980 | Glass for glazing |
|  | BS 6206: 1981 | Specification for impact performance requirements for flat safety glass and safety plastics for use in buildings |
|  | BS EN 572 Part 1 - Part 9: 2004 | Glass in building. Basic soda lime silicate glass products |
|  | BS EN 1863 Part 1: 2000 Part 2: 2004 | Glass in building. Heat strengthened soda lime silicate glass |
|  | BS EN 12150 Part 1: 2000 Part 2: 2004 | Glass in building. Thermally toughened soda lime silicate safety glass |
|  | BS EN 14179 Part 1 & 2: 2005 | Glass in building. Heat soaked thermally toughened soda lime silicate safety glass |
|  | BS EN ISO 12543 Part 1, 3-6: 1998 | Glass in building. Laminated glass and laminated safety glass |
| 試驗 | BS 6206: 1981 | Specification for impact performance requirements for flat safety glass and safety plastics for use in buildings |
|  | BS EN 12600: 2002 | Glass in building. Pendulum test. Impact test method and classification for flat glass |

其他物料、工程質量及試驗

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 不銹鋼 | ## BS EN 10088 Part 1-3: 2005 | ## Stainless steels |
|  | BS EN ISO 3506 Part 1 & 2: 1998 | Mechanical properties of corrosion-resistant stainless-steel fasteners |
|  | BS EN 1011 Part 3: 2000 | Welding. Recommendations for welding of metallic materials. Arc welding of stainless steels |

| 類別 | 標準 | 標題 |
| --- | --- | --- |
| 密封劑 | BS 6213: 2000 | Selection of construction sealants. Guide |
|  | BS 3712 Part 1: 1991 Part 2: 1973 Part 3: 1974 Part 4: 1991 | Building and construction sealants |
| 石膏灰泥 | BS 1191 Part 1 & 2: 1973 | ## Specification for gypsum building plasters |
| 石膏板 | BS 1230: Part 1: 1985 | Gypsum plasterboard. Specification for plasterboard excluding materials submitted to secondary operations |
| 木絲板 | BS 1105: 1981 | Specification for wood wool cement slabs up to 125mm thick |
| 天然石塊 | BS EN 12372: 1999 | Natural stone test methods. Determination of flexural strength under concentrated load |
| 砌石 | BS 3921: 1985 | Specification for clay bricks |
| 防火試驗 | BS 476 Part 4 : 1970 Part 20: 1987 Part 21: 1987 Part 22: 1987 Part 23: 1987 Part 24: 1987 | Fire tests on building materials and structures |
| 錨固 | BS 5080 Part 1: 1993 Part 2: 1986 | Structural fixings in concrete and masonry |

註：	本表以及作業守則中所提到的版本應已包括2011年3月之前的所有修訂。表列版本是最適合本港情況的版本，但並不一定是該等標準的最新版本。

(2011年3月修訂)