| Buildings Department | Practice Note for Authorized Persons and Registered Structural Engineers | 173 |
| --- | --- | --- |

Design and Construction of

Cantilevered Reinforced Concrete Structures

The structural stability of cantilevered reinforced concrete structures in particular those of pure slab type relies on their proper design, construction and maintenance.  Furthermore, the fact that weathering may lead to the early degradation of material strength should be borne in mind when carrying out the design and construction of cantilevered members exposed to weathering[].  Common examples of this type of structural elements are projecting structures located on the exteriors of buildings like canopies, balconies, bay windows, A/C hoods, A/C platforms, flowerbeds etc.  Their collapse would have serious consequences.

2.		This Practice Note gives guidance to Authorized Persons and Registered Structural Engineers on the safe design and construction of cantilevered reinforced concrete structures.  Appendix A gives guidelines on structural design, construction, drainage provision and site supervision for achieving the necessary safety standards.  Appendix B and Appendix C provide recommended details for the arrangement of reinforcements for cantilevered slabs and beams respectively. Structural submissions conforming to these recommendations will be considered as complying with the performance requirements set out in Building (Construction) Regulation 4.  The requirements on supervision, standards of workmanship and submission of construction reports will be the Building Authority’s conditions for approval of plans and consent to commence works.

|  | ( H W CHEUNG ) Building Authority |
| --- | --- |

Ref. : BD GP/BORD/23

First issue  October 1994

Last revision  May 2003

This revision  November 2005 (AD/NB2) – Generally revised and Appendix C added

Index under :  Cantilevered Structures

Cantilevered Reinforced Concrete Structures

[?] For the purpose of this practice note, cantilevered structures under permanent solid cover located at not greater than one storey height and of at least the same plan area as the structure may be considered as not exposed to weathering.