| Buildings Department | Practice Note for Authorized Persons and Registered Structural Engineers | 211 |
| --- | --- | --- |

Planning and Design of Drainage Works

This practice note sets out the Building Authority requirements as regards the planning and design of the alignment of common drains for new buildings.

Introduction

2.	In the course of carrying out drainage repair, difficulties have often been encountered in obtaining access to the defective underground drains which run under private premises such as shops (in particular restaurants and restaurant kitchens) and domestic flats.  Both investigation and repair works, which necessitate the opening up of floor slabs and trench excavations, will cause much inconvenience to occupants. In worse cases, the premises may have to be closed to effect the repair works.

Improvement

3.	In order to obviate such access difficulties and to facilitate the future maintenance of common drains, I shall require under section 28(1) of the Buildings Ordinance that all common underground drains for all new developments shall run in a space or land which is terilizedor otherwise designated as common area of the development, or alternatively provisions are made to enable easy access for inspection and repair.  With immediate effect, all newly submitted drainage plans which do not comply with this requirement may be disapproved under sections 16(1)(d) and 28(1) of the Buildings Ordinance.

4.	In addition to common underground drains, APs are also advised to take into consideration the need for maintenance and repair when designing other drains and plumbing systems.

|  | (CHOI Yu-leuk) Building Authority |
| --- | --- |

Ref. :	BD GP/BORD/21 (II)

First issue August 1997

This revision June 1999 (AD/D) (para 4 added)

Index under : Drainage works